## RTU#1
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:RTU
Station: 2F 電驛室 |  | SAT Date:
RTU#1
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Q01_CB_Close_Block
002 | Q01_CB_Trip_Block
003 | Q01_CB_SF6_Stage_1
004 | Q01_CB_SF6_Stage_2
005 | Q01_HYDR_Pump_fault
006 | Q01_AC_MCBS_Tripped
007 | Q01_DC_MCBS_Tripped
008 | Q01_BP11_SF6_stage_1
009 | Q01_BP04_SF6_stage_1
010 | Q01_SF6_stage_2
011 | MTR_1_86T1_Trip
012 | 87T_51G_43_11_Enable
013 | 87T_51G_43_11_Disable
014 | 50_51_43_12_Enable
015 | 50_51_43_12_Disable
016 | Q01_Control_OFF
017 | Q01_LCC_Control
018 | Q01_RCP_Control
019 | Q01_SCADA_Control
020 | MTR_1_86P_Trip
021 | MTR_1_86P_Trip
022 | MTR_1_86P_43_Disable
023 | Q02_CB_Close_Block
024 | Q02_CB_Trip_Block
025 | Q02_CB_SF6_Stage_1
026 | Q02_CB_SF6_Stage_2
027 | Q02_HYDR_Pump_fault
028 | Q02_AC_MCBS_Tripped
029 | Q02_DC_MCBS_Tripped
030 | Q02_BP11_SF6_stage_1
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | Q02_BP04_SF6_stage_1
032 | Q02_SF6_stage_2
033 | MTR_2_86T2_Trip
034 | 87T_51G_43_21_Enable
035 | 87T_51G_43_21_Disable
036 | 50_51_43_22_Enable
037 | 50_51_43_22_Disable
038 | Q02_Control_OFF
039 | Q02_LCC_Control
040 | Q02_RCP_Control
041 | Q02_SCADA_Control
042 | MTR_2_86P_Trip
043 | MTR_2_86P_43_Enable
044 | MTR_2_86P_43_Disable
045 | Q03_CB_Close_Block
046 | Q03_CB_Trip_Block
047 | Q03_CB_SF6_Stage_1
048 | Q03_CB_SF6_Stage_2
049 | Q03_HYDR_Pump_fault
050 | Q03_AC_MCBS_Tripped
051 | Q03_DC_MCBS_Tripped
052 | Q03_VT_MCBS_Tripped
053 | Q03_HVDS_OFF
054 | Q03_BP11_SF6_stage_1
055 | Q03_BP04_SF6_stage_1
056 | Q03_BP05_SF6_stage_1
057 | Q03_BP06_SF6_stage_1
058 | Q03_BP07_SF6_stage_1
059 | Q03_BP50_SF6_stage_1
060 | Q03_BP101_SF6_stage_1
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | Q03_BP102_SF6_stage_1
062 | Q03_BP103_SF6_stage_1
063 | Q03_BP1105_SF6_stage_1
064 | Q03_BP111_SF6_stage_1
065 | Q03_BP112_SF6_stage_1
066 | Q03_BP120_SF6_stage_1
067 | Q03_BE1_NO_ERROR
068 | Q03_SF6_stage_2
069 | IN01_86L_Trip
070 | 87L1_43_31_Enable
071 | 87L1_43_31_Disable
072 | DTT1_43_32_Enable
073 | DTT1_43_32_Disable
074 | 21_21N_1_43_33_Enable
075 | 21_21N_1_43_33_Disable
076 | 67_67N_1_43_34_Enable
077 | 67_67N_1_43_34_Disable
078 | 50_1_43_35_Enable
079 | 50_1_43_35_Disable
080 | 87L2_43_36_Enable
081 | 87L2_43_36_Disable
082 | DTT2_43_37_Enable
083 | DTT2_43_37_Disable
084 | 21_21N_2_43_38_Enable
085 | 21_21N_2_43_38_Disable
086 | 67_67N_2_43_39_Enable
087 | 67_67N_2_43_39_Disable
088 | 50_2_43_40_Enable
089 | 50_2_43_40_Disable
090 | Q04_CB_Close_Block
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
091 | Q04_CB_Trip_Block
092 | Q04_CB_SF6_Stage_1
093 | Q04_CB_SF6_Stage_2
094 | Q04_HYDR_Pump_fault
095 | Q04_AC_MCBS_Tripped
096 | Q04_DC_MCBS_Tripped
097 | Q04_BP11_SF6_stage_1
098 | Q04_BP04_SF6_stage_1
099 | Q04_SF6_stage_2
100 | MTR_3_86T3_Trip
101 | 87T_51G_43_41_Enable
102 | 87T_51G_43_41_Disable
103 | 50_51_43_42_Enable
104 | 50_51_43_42_Disable
105 | Q04_Control_OFF
106 | Q04_LCC_Control
107 | Q04_RCP_Control
108 | Q04_SCADA_Control
109 | MTR_3_86P_Trip
110 | MTR_3_86P_43_Enable
111 | MTR_3_86P_43_Disable
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## RTU#2
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:RTU
Station: 2F 電驛室 |  | SAT Date:
RTU#2
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Q05_CB_Close_Block
002 | Q05_CB_Trip_Block
003 | Q05_CB_SF6_Stage_1
004 | Q05_CB_SF6_Stage_2
005 | Q05_HYDR_Pump_fault
006 | Q05_AC_MCBS_Tripped
007 | Q05_DC_MCBS_Tripped
008 | Q05_BP11_SF6_stage_1
009 | Q05_BP04_SF6_stage_1
010 | Q05_ SF6_stage_2
011 | MTR_4_86T4_Trip
012 | 87B_86B_Trip
013 | 87B_43_87B_Enable
014 | 87B_43_87B_Disable
015 | 87T_51G_43_51_Enable
016 | 87T_51G_43_51_Disable
017 | 50_51_43_52_Enable
018 | 50_51_43_52_Disable
019 | Q05_Control_OFF
020 | Q05_RCP_Control
021 | Q05_SCADA_Control
022 | MTR_4_86P_Trip
023 | MTR_4_86P_43_Enable
024 | MTR_4_86P_43_Disable
025 | MTR1_OLTC_Oil_Level_Low_Alarm
026 | MTR1_Buchholz_Relay_1st_action
027 | MTR1_Buchholz_Relay_2st_action
028 | MTR1_Transformer_Pressure_equipment_action
029 | MTR1_OLTC_Oil_Temp_Low_Alarm
030 | MTR1_HV_Winding_oil_Temp_HI_Alarm
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | MTR1_LV_Winding_oil_Temp_HI_Alarm
032 | MTR1_Oil_Sudden_Pressure_Relay_Action
033 | MTR1_Fans_Motor_Control_Failure
034 | MTR1_AC_Supply_Failure
035 | MTR1_DC_Supply_Failure
036 | MTR2_OLTC_Oil_Level_Low_Alarm
037 | MTR2_Buchholz_Relay_1st_action
038 | MTR2_Buchholz_Relay_2st_action
039 | MTR2_Transformer_Pressure_equipment_action
040 | MTR2_OLTC_Oil_Temp_Low_Alarm
041 | MTR2_HV_Winding_oil_Temp_HI_Alarm
042 | MTR2_LV_Winding_oil_Temp_HI_Alarm
043 | MTR2_Oil_Sudden_Pressure_Relay_Action
044 | MTR2_Fans_Motor_Control_Failure
045 | MTR2_AC_Supply_Failure
046 | MTR2_DC_Supply_Failure
047 | MTR3_OLTC_Oil_Level_Low_Alarm
048 | MTR3_Buchholz_Relay_1st_action
049 | MTR3_Buchholz_Relay_2st_action
050 | MTR3_Transformer_Pressure_equipment_action
051 | MTR3_OLTC_Oil_Temp_Low_Alarm
052 | MTR3_HV_Winding_oil_Temp_HI_Alarm
053 | MTR3_LV_Winding_oil_Temp_HI_Alarm
054 | MTR3_Oil_Sudden_Pressure_Relay_Action
055 | MTR3_Fans_Motor_Control_Failure
056 | MTR3_AC_Supply_Failure
057 | MTR3_DC_Supply_Failure
058 | MTR4_OLTC_Oil_Level_Low_Alarm
059 | MTR4_Buchholz_Relay_1st_action
060 | MTR4_Buchholz_Relay_2st_action
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | MTR4_Transformer_Pressure_equipment_action
062 | MTR4_OLTC_Oil_Temp_Low_Alarm
063 | MTR4_HV_Winding_oil_Temp_HI_Alarm
064 | MTR4_LV_Winding_oil_Temp_HI_Alarm
065 | MTR4_Oil_Sudden_Pressure_Relay_Action
066 | MTR4_Fans_Motor_Control_Failure
067 | MTR4_AC_Supply_Failure
068 | MTR4_DC_Supply_Failure
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## RTU#3
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:RTU
Station: 2F 電驛室 |  | SAT Date:
RTU#3
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | MP1_VCB_ON
002 | MP1_VCB_OFF
003 | MP1_Keyswitch_Local_Remote
004 | MP1_Breaker_equipment_failure
005 | LVP_Power_supply_TPC_Side
006 | LVP_Power_supply_MTR_Side
007 | LVP_Breaker_equipment_failure
008 | Charger1_fault
009 | Charger1_AC_Votage_Low
010 | Charger1_DC_Votage_High
011 | Charger1_DC_Votage_Low
012 | Charger2_fault
013 | Charger2_AC_Votage_Low
014 | Charger2_DC_Votage_High
015 | Charger2_DC_Votage_Low
016 | 1PV01_LBS1_ES_open
017 | 2PV01_LBS1_ES_open
018 | 3PV01_LBS1_ES_open
019 | 4PV01_LBS1_ES_open
020 | 1PV04_LBS2_ES_open
021 | 2PV04_LBS2_ES_open
022 | 3PV04_LBS2_ES_open
023 | 4PV04_LBS2_ES_open
024 | 5PV01_LBS1_ES_open
025 | 6PV01_LBS1_ES_open
026 | 7PV01_LBS1_ES_open
027 | 8PV01_LBS1_ES_open
028 | 5PV04_LBS2_ES_open
029 | 6PV04_LBS2_ES_open
030 | 7PV04_LBS2_ES_open
031 | 8PV04_LBS2_ES_open
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## RTU#4
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:RTU
Station: 2F 電驛室 |  | SAT Date:
RTU#4
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | MHP_VCB_ON
002 | MHP_VCB_OFF
003 | MHP_Keyswitch_Local_Remote
004 | MHP_Breaker_equipment_failure
005 | MHP_50_51
006 | MHP_50N_51N
007 | MHP_27
008 | MHP_59
009 | VCB1_VCB_ON
010 | VCB1_VCB_OFF
011 | VCB1_Keyswitch_Local_Remote
012 | VCB1_Breaker_equipment_failure
013 | VCB1_50_51_
014 | VCB1_50N_51N
015 | VCB1_27
016 | VCB1_59
017 | VCB2_VCB_ON
018 | VCB2_VCB_OFF
019 | VCB2_Keyswitch_Local_Remote
020 | VCB2_Breaker_equipment_failure
021 | VCB2_50_51_
022 | VCB2_50N_51N
023 | VCB2_27
024 | VCB2_59
025 | VCB3_VCB_ON
026 | VCB3_VCB_OFF
027 | VCB3_Keyswitch_Local_Remote
028 | VCB3_Breaker_equipment_failure
029 | VCB3_50_51
030 | VCB3_50N_51N
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | VCB3_27
032 | VCB3_59
033 | TR5_Temp_H
034 | ACB1_Keyswitch_Local_Remote
035 | ACB1_VCB_ON
036 | ACB1_VCB_OFF
037 | ACB1_Breaker_equipment_failure
038 | SC_VCB_ON_OFF
039 | SC_Keyswitch_Local_Remote
040 | SC_Breaker_equipment_failure
041 | c_MHP_VCB_ON
042 | c_MHP_VCB_OFF
043 | c_VCB1_VCB_ON
044 | c_VCB1_VCB_OFF
045 | c_VCB2_VCB_ON
046 | c_VCB2_VCB_OFF
047 | c_VCB3_VCB_ON
048 | c_VCB3_VCB_OFF
049 | c_ACB1_VCB_ON
050 | c_ACB1_VCB_OFF
051 | c_SC_VCB_ON
052 | c_SC_VCB_OFF
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## PLC#1
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:PLC
Station: 2F 電驛室 |  | SAT Date:
PLC#1
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | FAF-001-Fan System Running/Stop
002 | FAF-001-Wind pressure Switch
003 | FAF-001-Fan Auto Control
004 | FAF-001-Fan Manual Control
005 | FAF-001-Fan System trip
006 | FAF-001-Fan System Fire Alarm
007 | FAF-101-Fan System Running/Stop
008 | FAF-101-Wind pressure Switch
009 | FAF-101-Fan Auto Control
010 | FAF-101-Fan Manual Control
011 | FAF-101-Fan System trip
012 | FAF-101-Fan System Fire Alarm
013 | MCD-111-Electric Damper Running/Stop
014 | FAF-102-Fan System Running/Stop
015 | FAF-102-Wind pressure Switch
016 | FAF-102-Fan Auto Control
017 | FAF-102-Fan Manual Control
018 | FAF-102-Fan System trip
019 | FAF-102-Fan System Fire Alarm
020 | FAF-201-Fan System Running/Stop
021 | FAF-201-Wind pressure Switch
022 | FAF-201-Fan Auto Control
023 | FAF-201-Fan Manual Control
024 | FAF-201-Fan System trip
025 | FAF-201-Fan System Fire Alarm
026 | FAF-201-Fan System Running/Stop
027 | FAF-201-Wind pressure Switch
028 | FAF-201-Fan Auto Control
029 | FAF-201-Fan Manual Control
030 | FAF-201-Fan System trip
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | FAF-201-Fan System Fire Alarm
032 | MCD-211-Electric Damper Running/Stop
033 | MCD-212-Electric Damper Running/Stop
034 | MCD-2B-Electric Damper Running/Stop
035 | EAF-001-Fan System Running/Stop
036 | EAF-001-Wind pressure Switch
037 | EAF-001-Fan Auto Control
038 | EAF-001-Fan Manual Control
039 | EAF-001-Fan System trip
040 | EAF-001-Fan System Fire Alarm
041 | EAF-101-Fan System Running/Stop
042 | EAF-101-Wind pressure Switch
043 | EAF-101-Fan Auto Control
044 | EAF-101-Fan Manual Control
045 | EAF-101-Fan System trip
046 | EAF-101-Fan System Fire Alarm
047 | MCD-11A-Electric Damper Running/Stop
048 | EAF-102-Fan System Running/Stop
049 | EAF-102-Wind pressure Switch
050 | EAF-102-Fan Auto Control
051 | EAF-102-Fan Manual Control
052 | EAF-102-Fan System trip
053 | EAF-102-Fan System Fire Alarm
054 | EAF-103-Fan System Running/Stop
055 | EAF-103-Wind pressure Switch
056 | EAF-103-Fan Auto Control
057 | EAF-103-Fan Manual Control
058 | EAF-103-Fan System trip
059 | EAF-103-Fan System Fire Alarm
060 | EAF-104-Fan System Running/Stop
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | EAF-104-Wind pressure Switch
062 | EAF-104-Fan Auto Control
063 | EAF-104-Fan Manual Control
064 | EAF-104-Fan System trip
065 | EAF-104-Fan System Fire Alarm
066 | EAF-105-Fan System Running/Stop
067 | EAF-105-Wind pressure Switch
068 | EAF-105-Fan Auto Control
069 | EAF-105-Fan Manual Control
070 | EAF-105-Fan System trip
071 | EAF-105-Fan System Fire Alarm
072 | EAF-201-Fan System Running/Stop
073 | EAF-201-Wind pressure Switch
074 | EAF-201-Fan Auto Control
075 | EAF-201-Fan Manual Control
076 | EAF-201-Fan System trip
077 | EAF-201-Fan System Fire Alarm
078 | MCD-21A-Electric Damper Running/Stop
079 | MCD-21B-Electric Damper Running/Stop
080 | WF-102-Fan System Running/Stop
081 | WF-102-Fan Auto Control
082 | WF-102-Fan Manual Control
083 | WF-102-Fan System trip
084 | WF-102-Fan System Fire Alarm
085 | MCD-1B-Electric Damper Running/Stop
086 | WF-102-Fan System Running/Stop
087 | WF-102-Fan Auto Control
088 | WF-102-Fan Manual Control
089 | WF-102-Fan System trip
090 | WF-102-Fan System Fire Alarm
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
091 | MCD-1B-Electric Damper Running/Stop
092 | WF-102-Fan System Running/Stop
093 | WF-102-Fan Auto Control
094 | WF-102-Fan Manual Control
095 | WF-102-Fan System trip
096 | WF-102-Fan System Fire Alarm
097 | MCD-1B-Electric Damper Running/Stop
098 | WF-102-Fan System Running/Stop
099 | WF-102-Fan Auto Control
100 | WF-102-Fan Manual Control
101 | WF-102-Fan System trip
102 | WF-102-Fan System Fire Alarm
103 | MCD-1B-Electric Damper Running/Stop
104 | WF-103-Fan System Running/Stop
105 | WF-103-Fan Auto Control
106 | WF-103-Fan Manual Control
107 | WF-103-Fan System trip
108 | WF-103-Fan System Fire Alarm
109 | MCD-1B-Electric Damper Running/Stop
110 | WF-104-Fan System Running/Stop
111 | WF-104-Fan Auto Control
112 | WF-104-Fan Manual Control
113 | WF-104-Fan System trip
114 | WF-104-Fan System Fire Alarm
115 | OU-301-Air Conditioner System Running/Stop
116 | OU-301-Air Conditioner Wind pressure Switch
117 | OU-301-Air Conditioner Auto Control
118 | OU-301-Air Conditioner Manual Control
119 | OU-301-Air Conditioner System Trip
120 | OU-301-Air Conditioner System Fire Alarm
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
121 | OU-302-Air Conditioner System Running/Stop
122 | OU-302-Air Conditioner Wind pressure Switch
123 | OU-302-Air Conditioner Auto Control
124 | OU-302-Air Conditioner Manual Control
125 | OU-302-Air Conditioner System Trip
126 | OU-302-Air Conditioner System Fire Alarm
127 | OU-303-Air Conditioner System Running/Stop
128 | OU-303-Air Conditioner Wind pressure Switch
129 | OU-303-Air Conditioner Auto Control
130 | OU-303-Air Conditioner Manual Control
131 | OU-303-Air Conditioner System Trip
132 | OU-303-Air Conditioner System Fire Alarm
133 | LFAP-Fire System Comprehensive Alarm
134 | LFAP-Fire System equipment fault
135 | LFAP-Fire System Fire Alarm
136 | WP-1,2-System Running/Stop
137 | WP-1,2-System Auto Control
138 | WP-1,2-System Manual Control
139 | BP-1,2-System equipment fault
140 | BP-3-System Running/Stop
141 | BP-3-System Auto Control
142 | BP-3-System Manual Control
143 | BP-3-System equipment fault
144 | DP-1,2-System Running/Stop
145 | DP-1,2-System Auto Control
146 | DP-1,2-System Manual Control
147 | DP-1,2-System equipment fault
148 | WT-11-Water Level H
149 | WT-11-Water Level L
150 | WT-11-Water Level LL
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
151 | DP-3,4-System Running/Stop
152 | DP-3,4-System Auto Control
153 | DP-3,4-System Manual Control
154 | DP-3,4-System equipment fault
155 | WT-12-Water Level H
156 | WT-12-Water Level L
157 | WT-12-Water Level LL
158 | FAF-001-Fan System Running/Stop
159 | FAF-101-Fan System Running/Stop
160 | MCD-111-Electric Damper Running/Stop
161 | FAF-102-Fan System Running/Stop
162 | FAF-201-Fan System Running/Stop
163 | FAF-201-Fan System Running/Stop
164 | MCD-211-Electric Damper Running/Stop
165 | MCD-212-Electric Damper Running/Stop
166 | MCD-2B-Electric Damper Running/Stop
167 | EAF-001-Fan System Running/Stop
168 | EAF-101-Fan System Running/Stop
169 | MCD-11A-Electric Damper Running/Stop
170 | EAF-102-Fan System Running/Stop
171 | EAF-103-Fan System Running/Stop
172 | EAF-104-Fan System Running/Stop
173 | EAF-105-Fan System Running/Stop
174 | EAF-201-Fan System Running/Stop
175 | MCD-21A-Electric Damper Running/Stop
176 | MCD-21B-Electric Damper Running/Stop
177 | WF-102-Fan System Running/Stop
178 | MCD-1B-Electric Damper Running/Stop
179 | WF-102-Fan System Running/Stop
180 | MCD-1B-Electric Damper Running/Stop
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
181 | WF-102-Fan System Running/Stop
182 | MCD-1B-Electric Damper Running/Stop
183 | WF-102-Fan System Running/Stop
184 | MCD-1B-Electric Damper Running/Stop
185 | WF-102-Fan System Running/Stop
186 | MCD-1B-Electric Damper Running/Stop
187 | WF-103-Fan System Running/Stop
188 | MCD-1B-Electric Damper Running/Stop
189 | WF-104-Fan System Running/Stop
190 | OU-301-Air Conditioner System Running/Stop
191 | OU-302-Air Conditioner System Running/Stop
192 | OU-303-Air Conditioner System Running/Stop
193 | WP-1,2-System Running/Stop
194 | BP-1,2-System Running/Stop
195 | BP-3-System Running/Stop
196 | DP-1,2-System Running/Stop
197 | DP-3,4-System Running/Stop
198 | TSM-Temp【變壓器室(一)】
199 | TSM-Temp【變壓器室(二)】
200 | TSM-Temp【變壓器室(三)】
201 | TSM-Temp【變壓器室(四)】
202 | TSM-Temp【氣體絕緣開關室】
203 | TSM-Temp【氣體絕緣開關室】
204 | TSM-Temp【1F發電機室】
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A