## Main
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SL86
Station: 161kV |  | SAT Date:
|  |  |  | MP1 |  | MP2 |  | MP3 |  | MP4
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | c_Control/CB Control.Position | 中文敘述: CB控制; /: -
002 | c_Control/DS Control.Position | 中文敘述: DS控制; /: -
003 | c_Control/ES Control.Position | 中文敘述: ES控制; /: -
004 | Control/CB Control.Position | 中文敘述: CB狀態; /: -
005 | Control/Circuit break.Status | 中文敘述: CB狀態; /: -
006 | Control/Disconnector.Status | 中文敘述: DS狀態; /: -
007 | Control/DS Control.Position | 中文敘述: DS狀態; /: -
008 | Control/Earth switch.Status | 中文敘述: ES狀態; /: -
009 | Control/ES Control.Position | 中文敘述: ES狀態; /: -
010 | Control/USER_GGIO1.43 Remote | 中文敘述: 43R開關旋鈕; /: -
011 | Control/RSTP.Channel Failure | 中文敘述: 通訊(主)模組故障; /: -
012 | Control/RSTP.Redund. Channel Failure | 中文敘述: 通訊(備)模組故障; /: -
013 | _ComFault | 中文敘述: 通訊異常; /: -
014 | Protection/Device.Battery failure | 中文敘述: 內部電池異常; /: -
015 | Protection/Device.Physical health.Alarm | 中文敘述: 保護電驛異常; /: -
016 | Protection/Time sync.Time sync. error | 中文敘述: 時間同步異常; /: -
017 | Control/74TC.Trip-circuit failure | 中文敘述: 斷路器跳脫迴路故障; /: -
018 | Control/50BF.Trip T2 | 中文敘述: 開關故障警報; /: -
019 | Control/USER_GGIO1.MCB alarm all PT | 中文敘述: PT斷路器跳脫警報; /: -
020 | Control/USER_GGIO1.MCB alarm power source | 中文敘述: 直流電源開關跳脫警報(除了IED電源); /: -
021 | Control/USER_GGIO1.CB charge | 中文敘述: 開關儲能馬達運轉狀態; /: -
022 | Control/USER_GGIO1.IED remote_local | 中文敘述: Local/Remote狀態; /: -
023 | Control/USER_GGIO1.Noninterlock | 中文敘述: 解除連鎖; /: -
024 | Control/USER_GGIO1.SF6 alarm | 中文敘述: SF6氣體不足警報; /: -
025 | Control/UL_GAPC1.c_74TC use_lock | 中文敘述: 跳脫線圈監視功能使用/閉鎖; /: -
026 | Control/USER_GGIO1.86 alarm 67_67N | 中文敘述: 86閉鎖67/67N動作; /: -
027 | Control/USER_GGIO1.86 alarm externel from 33kV | 中文敘述: 86閉鎖外部33kV動作; /: -
028 | Control/USER_GGIO1.86 alarm overcurrent | 中文敘述: 86閉鎖外部50/51動作; /: -
029 | Control/USER_GGIO1.86 alarm upstream | 中文敘述: 86閉鎖upstream動作; /: -
030 | Control/USER_GGIO1.Block 27_59 | 中文敘述: 27/59功能閉鎖; /: -
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | Protection/27-1.Operate | 中文敘述: 保護27警報; /: -
032 | Protection/27-1.Pickup | 中文敘述: 保護27始動; /: -
033 | Protection/50-1.Operate | 中文敘述: 保護50-1警報; /: -
034 | Protection/50-1.Pickup | 中文敘述: 保護50-1始動; /: -
035 | Protection/50-2.Operate | 中文敘述: 保護50-2警報; /: -
036 | Protection/50-2.Pickup | 中文敘述: 保護50-2始動; /: -
037 | Protection/50N-1.Operate | 中文敘述: 保護50N-1始動; /: -
038 | Protection/50N-1.Pickup | 中文敘述: 保護50N-1警報; /: -
039 | Protection/50N-2.Operate | 中文敘述: 保護50N-2始動; /: -
040 | Protection/50N-2.Pickup | 中文敘述: 保護50N-2警報; /: -
041 | Protection/51.Operate | 中文敘述: 保護51警報; /: -
042 | Protection/51.Pickup | 中文敘述: 保護51始動; /: -
043 | Protection/51N.Operate | 中文敘述: 保護51N警報; /: -
044 | Protection/51N.Pickup | 中文敘述: 保護51N始動; /: -
045 | Protection/59-1.Operate | 中文敘述: 保護59警報; /: -
046 | Protection/59-1.Pickup | 中文敘述: 保護59始動; /: -
047 | Protection/67-1.Operate | 中文敘述: 保護67-1警報; /: -
048 | Protection/67-1.Pickup | 中文敘述: 保護67-1始動; /: -
049 | Protection/67-2.Operate | 中文敘述: 保護67-2警報; /: -
050 | Protection/67-2.Pickup | 中文敘述: 保護67-2始動; /: -
051 | Protection/67-Curve.Operate | 中文敘述: 保護67-Curve警報; /: -
052 | Protection/67-Curve.Pickup | 中文敘述: 保護67-Curve始動; /: -
053 | Protection/67N-1.Operate | 中文敘述: 保護67N-1警報; /: -
054 | Protection/67N-1.Pickup | 中文敘述: 保護67N-1始動; /: -
055 | Protection/67N-2.Operate | 中文敘述: 保護67N-2警報; /: -
056 | Protection/67N-2.Pickup | 中文敘述: 保護67N-2始動; /: -
057 | Protection/67N-Curve.Operate | 中文敘述: 保護67N-Curve警報; /: -
058 | Protection/67N-Curve.Pickup | 中文敘述: 保護67N-Curve始動; /: -
059 | Measurement/RMS.Vph.phsA | 中文敘述: R相電壓; /: KV
060 | Measurement/RMS.Vph.phsB | 中文敘述: S相電壓; /: KV
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Vph.phsC | 中文敘述: T相電壓; /: KV
062 | Measurement/RMS.Iph.phsA | 中文敘述: R相電流; /: A
063 | Measurement/RMS.Iph.phsB | 中文敘述: S相電流; /: A
064 | Measurement/RMS.Iph.phsC | 中文敘述: T相電流; /: A
065 | Measurement/Power.P tot | 中文敘述: 有效功率; /: KW
066 | Measurement/Power.Q tot | 中文敘述: 無效功率; /: KVAR
067 | Measurement/Power.S tot | 中文敘述: 視在功率; /: KVA
068 | Measurement/Power.f | bar: 中文敘述 to /
069 | Measurement/Power.PF | 中文敘述: 功率因數; /: -
070 | Measurement/Energy.SupWh.actual | 中文敘述: 電能; /: KWH
071 | Measurement/Energy.SupVArh.actual | 中文敘述: 無功電能; /: KVARH
072 | Measurement/RMS.Vph.res | 中文敘述: 會刪掉
073 | Measurement/RMS.Vpp.phsAB | 中文敘述: 會刪掉
074 | Measurement/RMS.Vpp.phsBC | 中文敘述: 會刪掉
075 | Measurement/RMS.Vpp.phsCA | 中文敘述: 會刪掉
076 | Measurement/Energy.DmdVArh.actual | 中文敘述: 會刪掉
077 | Measurement/Energy.DmdWh.actual | 中文敘述: 會刪掉
078 | Control/USER_GGIO1.Switch operate key | 中文敘述: 不確定哪個開關
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## Feeder-1
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO11 |  | Feeder_NO12 |  | Feeder_NO14 |  | Feeder_NO15
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | c_Control/CB Control.Position | 中文敘述: CB控制
002 | c_Control/DS Control.Position | 中文敘述: DS控制
003 | c_Control/ES Control.Position | 中文敘述: ES控制
004 | Control/CB Control.Position | 中文敘述: CB狀態
005 | Control/Circuit break.Status | 中文敘述: CB狀態
006 | Control/Disconnector.Status | 中文敘述: DS狀態
007 | Control/DS Control.Position | 中文敘述: DS狀態
008 | Control/Earth switch.Status | 中文敘述: ES狀態
009 | Control/ES Control.Position | 中文敘述: ES狀態
010 | Control/USER_GGIO1.43 Remote | 中文敘述: 43R開關旋鈕
011 | Control/USER_GGIO1.IED remote_local | 中文敘述: Local/Remote狀態
012 | Control/RSTP.Channel Failure | 中文敘述: 通訊(主)模組故障
013 | Control/RSTP.Redund. Channel Failure | 中文敘述: 通訊(備)模組故障
014 | _ComFault | 中文敘述: 通訊異常
015 | Protection/Device.Battery failure | 中文敘述: 內部電池異常
016 | Protection/Device.Physical health.Alarm | 中文敘述: 保護電驛異常
017 | Protection/Time sync.Time sync. error | 中文敘述: 時間同步異常
018 | Control/74TC.Trip-circuit failure | 中文敘述: 斷路器跳脫迴路故障
019 | Control/50BF.Trip T2 | 中文敘述: 開關故障警報
020 | Control/USER_GGIO1.MCB alarm PT | 中文敘述: PT斷路器跳脫警報
021 | Control/USER_GGIO1.MCB alarm power source | 中文敘述: 直流電源開關跳脫警報(除了IED電源)
022 | Control/USER_GGIO1.CB charge | 中文敘述: 開關儲能馬達運轉狀態
023 | Control/USER_GGIO1.Noninterlock | 中文敘述: 解除連鎖
024 | Control/USER_GGIO1.SF6 alarm | 中文敘述: SF6氣體不足警報
025 | Control/UL_GAPC1.c_74TC use_lock | 中文敘述: 跳脫線圈監視功能使用/閉鎖
026 | Control/USER_GGIO1.86 alarm overcurrent | 中文敘述: 86閉鎖外部50/51動作
027 | Protection/27-1.Operate | 中文敘述: 保護27警報
028 | Protection/27-1.Pickup | 中文敘述: 保護27始動
029 | Protection/50-1.Operate | 中文敘述: 保護50-1警報
030 | Protection/50-1.Pickup | 中文敘述: 保護50-1始動
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | Protection/50-2.Operate | 中文敘述: 保護50-2警報
032 | Protection/50-2.Pickup | 中文敘述: 保護50-2始動
033 | Protection/50N-1.Operate | 中文敘述: 保護50N-1始動
034 | Protection/50N-1.Pickup | 中文敘述: 保護50N-1警報
035 | Protection/50N-2.Operate | 中文敘述: 保護50N-2始動
036 | Protection/50N-2.Pickup | 中文敘述: 保護50N-2警報
037 | Protection/51.Operate | 中文敘述: 保護51警報
038 | Protection/51.Pickup | 中文敘述: 保護51始動
039 | Protection/51N.Operate | 中文敘述: 保護51N警報
040 | Protection/51N.Pickup | 中文敘述: 保護51N始動
041 | Protection/59-1.Operate | 中文敘述: 保護59警報
042 | Protection/59-1.Pickup | 中文敘述: 保護59始動
043 | Protection/67-1.Operate | 中文敘述: 保護67-1警報
044 | Protection/67-1.Pickup | 中文敘述: 保護67-1始動
045 | Protection/67-2.Operate | 中文敘述: 保護67-2警報
046 | Protection/67-2.Pickup | 中文敘述: 保護67-2始動
047 | Protection/67-Curve.Operate | 中文敘述: 保護67-Curve警報
048 | Protection/67-Curve.Pickup | 中文敘述: 保護67-Curve始動
049 | Protection/67N-1.Operate | 中文敘述: 保護67N-1警報
050 | Protection/67N-1.Pickup | 中文敘述: 保護67N-1始動
051 | Protection/67N-2.Operate | 中文敘述: 保護67N-2警報
052 | Protection/67N-2.Pickup | 中文敘述: 保護67N-2始動
053 | Protection/67N-Curve.Operate | 中文敘述: 保護67N-Curve警報
054 | Protection/67N-Curve.Pickup | 中文敘述: 保護67N-Curve始動
055 | Measurement/RMS.Vph.phsA | 中文敘述: R相電壓
056 | Measurement/RMS.Vph.phsB | 中文敘述: S相電壓
057 | Measurement/RMS.Vph.phsC | 中文敘述: T相電壓
058 | Measurement/RMS.Iph.phsA | 中文敘述: R相電流
059 | Measurement/RMS.Iph.phsB | 中文敘述: S相電流
060 | Measurement/RMS.Iph.phsC | 中文敘述: T相電流
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | Measurement/Power.P tot | 中文敘述: 有效功率; /: KW
062 | Measurement/Power.Q tot | 中文敘述: 無效功率; /: KVAR
063 | Measurement/Power.S tot | 中文敘述: 視在功率; /: KVA
064 | Measurement/Power.f | bar: 中文敘述 to /
065 | Measurement/Power.PF | 中文敘述: 功率因數
066 | Measurement/Energy.SupWh.actual | 中文敘述: 電能; /: KWH
067 | Measurement/Energy.SupVArh.actual | 中文敘述: 無功電能; /: KVARH
068 | Measurement/RMS.Iph.res | 中文敘述: 會刪掉
069 | Measurement/RMS.VN | 中文敘述: 會刪掉
070 | Measurement/RMS.Vpp.phsAB | 中文敘述: 會刪掉
071 | Measurement/RMS.Vpp.phsBC | 中文敘述: 會刪掉
072 | Measurement/RMS.Vpp.phsCA | 中文敘述: 會刪掉
073 | Measurement/RMS.Vph.res | 中文敘述: 會刪掉
074 | Measurement/Energy.DmdVArh.actual | 中文敘述: 會刪掉
075 | Measurement/Energy.DmdWh.actual | 中文敘述: 會刪掉
076 | Control/UL_GAPC1.86 alarm externel | 中文敘述: 外部86閉鎖手動跳脫(會刪掉)
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## Feeder-2
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO16 |  | Feeder_NO21 |  | Feeder_NO22 |  | Feeder_NO24
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/RSTP.Channel Failure
010 | Control/RSTP.Redund. Channel Failure
011 | Control/UL_GAPC1.86 alarm externel
012 | Control/UL_GAPC1.c_74TC use_lock
013 | Control/USER_GGIO1.43 Remote
014 | Control/USER_GGIO1.86 alarm overcurrent
015 | Control/USER_GGIO1.CB charge
016 | Control/USER_GGIO1.IED remote_local
017 | Control/USER_GGIO1.MCB alarm power source
018 | Control/USER_GGIO1.MCB alarm PT
019 | Control/USER_GGIO1.Noninterlock
020 | Control/USER_GGIO1.SF6 alarm
021 | Protection/27-1.Operate
022 | Protection/27-1.Pickup
023 | Protection/50-1.Operate
024 | Protection/50-1.Pickup
025 | Protection/50-2.Operate
026 | Protection/50-2.Pickup
027 | Protection/50N-1.Operate
028 | Protection/50N-1.Pickup
029 | Protection/50N-2.Operate
030 | Protection/50N-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/51.Operate
032 | Protection/51.Pickup
033 | Protection/51N.Operate
034 | Protection/51N.Pickup
035 | Protection/59-1.Operate
036 | Protection/59-1.Pickup
037 | Protection/67-1.Operate
038 | Protection/67-1.Pickup
039 | Protection/67-2.Operate
040 | Protection/67-2.Pickup
041 | Protection/67-Curve.Operate
042 | Protection/67-Curve.Pickup
043 | Protection/67N-1.Operate
044 | Protection/67N-1.Pickup
045 | Protection/67N-2.Operate
046 | Protection/67N-2.Pickup
047 | Protection/67N-Curve.Operate
048 | Protection/67N-Curve.Pickup
049 | Protection/Device.Battery failure
050 | Protection/Device.Physical health.Alarm
051 | Protection/Time sync.Time sync. error
052 | Measurement/Energy.DmdVArh.actual
053 | Measurement/Energy.DmdWh.actual
054 | Measurement/Energy.SupVArh.actual
055 | Measurement/Energy.SupWh.actual
056 | Measurement/Power.f
057 | Measurement/Power.P tot
058 | Measurement/Power.PF
059 | Measurement/Power.Q tot
060 | Measurement/Power.S tot
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsA
062 | Measurement/RMS.Iph.phsB
063 | Measurement/RMS.Iph.phsC
064 | Measurement/RMS.Iph.res
065 | Measurement/RMS.VN
066 | Measurement/RMS.Vph.phsA
067 | Measurement/RMS.Vph.phsB
068 | Measurement/RMS.Vph.phsC
069 | Measurement/RMS.Vph.res
070 | Measurement/RMS.Vpp.phsAB
071 | Measurement/RMS.Vpp.phsBC
072 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Feeder-3
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO25 |  | Feeder_NO26 |  | Feeder_NO31 |  | Feeder_NO32
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/RSTP.Channel Failure
010 | Control/RSTP.Redund. Channel Failure
011 | Control/UL_GAPC1.86 alarm externel
012 | Control/UL_GAPC1.c_74TC use_lock
013 | Control/USER_GGIO1.43 Remote
014 | Control/USER_GGIO1.86 alarm overcurrent
015 | Control/USER_GGIO1.CB charge
016 | Control/USER_GGIO1.IED remote_local
017 | Control/USER_GGIO1.MCB alarm power source
018 | Control/USER_GGIO1.MCB alarm PT
019 | Control/USER_GGIO1.Noninterlock
020 | Control/USER_GGIO1.SF6 alarm
021 | Protection/27-1.Operate
022 | Protection/27-1.Pickup
023 | Protection/50-1.Operate
024 | Protection/50-1.Pickup
025 | Protection/50-2.Operate
026 | Protection/50-2.Pickup
027 | Protection/50N-1.Operate
028 | Protection/50N-1.Pickup
029 | Protection/50N-2.Operate
030 | Protection/50N-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/51.Operate
032 | Protection/51.Pickup
033 | Protection/51N.Operate
034 | Protection/51N.Pickup
035 | Protection/59-1.Operate
036 | Protection/59-1.Pickup
037 | Protection/67-1.Operate
038 | Protection/67-1.Pickup
039 | Protection/67-2.Operate
040 | Protection/67-2.Pickup
041 | Protection/67-Curve.Operate
042 | Protection/67-Curve.Pickup
043 | Protection/67N-1.Operate
044 | Protection/67N-1.Pickup
045 | Protection/67N-2.Operate
046 | Protection/67N-2.Pickup
047 | Protection/67N-Curve.Operate
048 | Protection/67N-Curve.Pickup
049 | Protection/Device.Battery failure
050 | Protection/Device.Physical health.Alarm
051 | Protection/Time sync.Time sync. error
052 | Measurement/Energy.DmdVArh.actual
053 | Measurement/Energy.DmdWh.actual
054 | Measurement/Energy.SupVArh.actual
055 | Measurement/Energy.SupWh.actual
056 | Measurement/Power.f
057 | Measurement/Power.P tot
058 | Measurement/Power.PF
059 | Measurement/Power.Q tot
060 | Measurement/Power.S tot
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsA
062 | Measurement/RMS.Iph.phsB
063 | Measurement/RMS.Iph.phsC
064 | Measurement/RMS.Iph.res
065 | Measurement/RMS.VN
066 | Measurement/RMS.Vph.phsA
067 | Measurement/RMS.Vph.phsB
068 | Measurement/RMS.Vph.phsC
069 | Measurement/RMS.Vph.res
070 | Measurement/RMS.Vpp.phsAB
071 | Measurement/RMS.Vpp.phsBC
072 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Feeder-4
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO34 |  | Feeder_NO35 |  | Feeder_NO36 |  | Feeder_NO41
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/RSTP.Channel Failure
010 | Control/RSTP.Redund. Channel Failure
011 | Control/UL_GAPC1.86 alarm externel
012 | Control/UL_GAPC1.c_74TC use_lock
013 | Control/USER_GGIO1.43 Remote
014 | Control/USER_GGIO1.86 alarm overcurrent
015 | Control/USER_GGIO1.CB charge
016 | Control/USER_GGIO1.IED remote_local
017 | Control/USER_GGIO1.MCB alarm power source
018 | Control/USER_GGIO1.MCB alarm PT
019 | Control/USER_GGIO1.Noninterlock
020 | Control/USER_GGIO1.SF6 alarm
021 | Protection/27-1.Operate
022 | Protection/27-1.Pickup
023 | Protection/50-1.Operate
024 | Protection/50-1.Pickup
025 | Protection/50-2.Operate
026 | Protection/50-2.Pickup
027 | Protection/50N-1.Operate
028 | Protection/50N-1.Pickup
029 | Protection/50N-2.Operate
030 | Protection/50N-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/51.Operate
032 | Protection/51.Pickup
033 | Protection/51N.Operate
034 | Protection/51N.Pickup
035 | Protection/59-1.Operate
036 | Protection/59-1.Pickup
037 | Protection/67-1.Operate
038 | Protection/67-1.Pickup
039 | Protection/67-2.Operate
040 | Protection/67-2.Pickup
041 | Protection/67-Curve.Operate
042 | Protection/67-Curve.Pickup
043 | Protection/67N-1.Operate
044 | Protection/67N-1.Pickup
045 | Protection/67N-2.Operate
046 | Protection/67N-2.Pickup
047 | Protection/67N-Curve.Operate
048 | Protection/67N-Curve.Pickup
049 | Protection/Device.Battery failure
050 | Protection/Device.Physical health.Alarm
051 | Protection/Time sync.Time sync. error
052 | Measurement/Energy.DmdVArh.actual
053 | Measurement/Energy.DmdWh.actual
054 | Measurement/Energy.SupVArh.actual
055 | Measurement/Energy.SupWh.actual
056 | Measurement/Power.f
057 | Measurement/Power.P tot
058 | Measurement/Power.PF
059 | Measurement/Power.Q tot
060 | Measurement/Power.S tot
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsA
062 | Measurement/RMS.Iph.phsB
063 | Measurement/RMS.Iph.phsC
064 | Measurement/RMS.Iph.res
065 | Measurement/RMS.VN
066 | Measurement/RMS.Vph.phsA
067 | Measurement/RMS.Vph.phsB
068 | Measurement/RMS.Vph.phsC
069 | Measurement/RMS.Vph.res
070 | Measurement/RMS.Vpp.phsAB
071 | Measurement/RMS.Vpp.phsBC
072 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Feeder-5
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO42 |  | Feeder_NO44 |  | Feeder_NO45 |  | Feeder_NO46
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/RSTP.Channel Failure
010 | Control/RSTP.Redund. Channel Failure
011 | Control/UL_GAPC1.86 alarm externel
012 | Control/UL_GAPC1.c_74TC use_lock
013 | Control/USER_GGIO1.43 Remote
014 | Control/USER_GGIO1.86 alarm overcurrent
015 | Control/USER_GGIO1.CB charge
016 | Control/USER_GGIO1.IED remote_local
017 | Control/USER_GGIO1.MCB alarm power source
018 | Control/USER_GGIO1.MCB alarm PT
019 | Control/USER_GGIO1.Noninterlock
020 | Control/USER_GGIO1.SF6 alarm
021 | Protection/27-1.Operate
022 | Protection/27-1.Pickup
023 | Protection/50-1.Operate
024 | Protection/50-1.Pickup
025 | Protection/50-2.Operate
026 | Protection/50-2.Pickup
027 | Protection/50N-1.Operate
028 | Protection/50N-1.Pickup
029 | Protection/50N-2.Operate
030 | Protection/50N-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/51.Operate
032 | Protection/51.Pickup
033 | Protection/51N.Operate
034 | Protection/51N.Pickup
035 | Protection/59-1.Operate
036 | Protection/59-1.Pickup
037 | Protection/67-1.Operate
038 | Protection/67-1.Pickup
039 | Protection/67-2.Operate
040 | Protection/67-2.Pickup
041 | Protection/67-Curve.Operate
042 | Protection/67-Curve.Pickup
043 | Protection/67N-1.Operate
044 | Protection/67N-1.Pickup
045 | Protection/67N-2.Operate
046 | Protection/67N-2.Pickup
047 | Protection/67N-Curve.Operate
048 | Protection/67N-Curve.Pickup
049 | Protection/Device.Battery failure
050 | Protection/Device.Physical health.Alarm
051 | Protection/Time sync.Time sync. error
052 | Measurement/Energy.DmdVArh.actual
053 | Measurement/Energy.DmdWh.actual
054 | Measurement/Energy.SupVArh.actual
055 | Measurement/Energy.SupWh.actual
056 | Measurement/Power.f
057 | Measurement/Power.P tot
058 | Measurement/Power.PF
059 | Measurement/Power.Q tot
060 | Measurement/Power.S tot
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsA
062 | Measurement/RMS.Iph.phsB
063 | Measurement/RMS.Iph.phsC
064 | Measurement/RMS.Iph.res
065 | Measurement/RMS.VN
066 | Measurement/RMS.Vph.phsA
067 | Measurement/RMS.Vph.phsB
068 | Measurement/RMS.Vph.phsC
069 | Measurement/RMS.Vph.res
070 | Measurement/RMS.Vpp.phsAB
071 | Measurement/RMS.Vpp.phsBC
072 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Feeder-6_wBBVT
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO13wBBVT |  | Feeder_NO23wBBVT |  | Feeder_NO33wBBVT |  | Feeder_NO43wBBVT
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/PT Disconnector.Status
010 | Control/PT Earth switch.Status
011 | Control/RSTP.Channel Failure
012 | Control/RSTP.Redund. Channel Failure
013 | Control/UL_GAPC1.86 alarm externel
014 | Control/UL_GAPC1.c_74TC use_lock
015 | Control/USER_GGIO1.43Remote
016 | Control/USER_GGIO1.86 alarm overcurrent
017 | Control/USER_GGIO1.CB charge
018 | Control/USER_GGIO1.IED remote_local
019 | Control/USER_GGIO1.MCB alarm power source
020 | Control/USER_GGIO1.MCB alarm PT
021 | Control/USER_GGIO1.Noninterlock
022 | Control/USER_GGIO1.PT switch operate key
023 | Control/USER_GGIO1.SF6 alarm
024 | Control/USER_GGIO1.Switch operate key
025 | Protection/27-1.Operate
026 | Protection/27-1.Pickup
027 | Protection/50-1.Operate
028 | Protection/50-1.Pickup
029 | Protection/50-2.Operate
030 | Protection/50-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/50N-1.Operate
032 | Protection/50N-1.Pickup
033 | Protection/50N-2.Operate
034 | Protection/50N-2.Pickup
035 | Protection/51.Operate
036 | Protection/51.Pickup
037 | Protection/51N.Operate
038 | Protection/51N.Pickup
039 | Protection/59-1.Operate
040 | Protection/59-1.Pickup
041 | Protection/67-1.Operate
042 | Protection/67-1.Pickup
043 | Protection/67-2.Operate
044 | Protection/67-2.Pickup
045 | Protection/67-Curve.Operate
046 | Protection/67-Curve.Pickup
047 | Protection/67N-1.Operate
048 | Protection/67N-1.Pickup
049 | Protection/67N-2.Operate
050 | Protection/67N-2.Pickup
051 | Protection/67N-Curve.Operate
052 | Protection/67N-Curve.Pickup
053 | Protection/Device.Battery failure
054 | Protection/Device.Physical health.Alarm
055 | Protection/Time sync.Time sync. error
056 | Measurement/Energy.DmdVArh.actual
057 | Measurement/Energy.DmdWh.actual
058 | Measurement/Energy.SupVArh.actual
059 | Measurement/Energy.SupWh.actual
060 | Measurement/Power.f
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/Power.P tot
062 | Measurement/Power.PF
063 | Measurement/Power.Q tot
064 | Measurement/Power.S tot
065 | Measurement/RMS.Iph.phsA
066 | Measurement/RMS.Iph.phsB
067 | Measurement/RMS.Iph.phsC
068 | Measurement/RMS.Iph.res
069 | Measurement/RMS.VN
070 | Measurement/RMS.Vph.phsA
071 | Measurement/RMS.Vph.phsB
072 | Measurement/RMS.Vph.phsC
073 | Measurement/RMS.Vph.res
074 | Measurement/RMS.Vpp.phsAB
075 | Measurement/RMS.Vpp.phsBC
076 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Feeder-7_wDCBoard
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Feeder_NO17wDCBoard |  | Feeder_NO27wDCBoard |  | Feeder_NO37wDCBoard |  | Feeder_NO47wDCBoard
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/50BF.Trip T2
002 | Control/74TC.Trip-circuit failure
003 | Control/CB Control.Position
004 | Control/Circuit break.Status
005 | Control/Disconnector.Status
006 | Control/DS Control.Position
007 | Control/Earth switch.Status
008 | Control/ES Control.Position
009 | Control/RSTP.Channel Failure
010 | Control/RSTP.Redund. Channel Failure
011 | Control/UL_GAPC1.86 alarm externel
012 | Control/UL_GAPC1.c_74TC use_lock
013 | Control/USER_GGIO1.43 Remote
014 | Control/USER_GGIO1.86 Alarm overcurrent
015 | Control/USER_GGIO1.CB charge
016 | Control/USER_GGIO1.IED remote_local
017 | Control/USER_GGIO1.MCB Alarm power source
018 | Control/USER_GGIO1.MCB alarm PT
019 | Control/USER_GGIO1.Noninterlock
020 | Control/USER_GGIO1.SF6 alarm
021 | Protection/27-1.Operate
022 | Protection/27-1.Pickup
023 | Protection/50-1.Operate
024 | Protection/50-1.Pickup
025 | Protection/50-2.Operate
026 | Protection/50-2.Pickup
027 | Protection/50N-1.Operate
028 | Protection/50N-1.Pickup
029 | Protection/50N-2.Operate
030 | Protection/50N-2.Pickup
工程師簽章：
表單編號:QR-12-06 版本:A
031 | Protection/51.Operate
032 | Protection/51.Pickup
033 | Protection/51N.Operate
034 | Protection/51N.Pickup
035 | Protection/59-1.Operate
036 | Protection/59-1.Pickup
037 | Protection/67-1.Operate
038 | Protection/67-1.Pickup
039 | Protection/67-2.Operate
040 | Protection/67-2.Pickup
041 | Protection/67-Curve.Operate
042 | Protection/67-Curve.Pickup
043 | Protection/67N-1.Operate
044 | Protection/67N-1.Pickup
045 | Protection/67N-2.Operate
046 | Protection/67N-2.Pickup
047 | Protection/67N-Curve.Operate
048 | Protection/67N-Curve.Pickup
049 | Protection/Device.Battery failure
050 | Protection/Device.Physical health.Alarm
051 | Protection/Time sync.Time sync. error
052 | Measurement/Energy.DmdVArh.actual
053 | Measurement/Energy.DmdWh.actual
054 | Measurement/Energy.SupVArh.actual
055 | Measurement/Energy.SupWh.actual
056 | Measurement/Power.f
057 | Measurement/Power.P tot
058 | Measurement/Power.PF
059 | Measurement/Power.Q tot
060 | Measurement/Power.S tot
工程師簽章：
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsA
062 | Measurement/RMS.Iph.phsB
063 | Measurement/RMS.Iph.phsC
064 | Measurement/RMS.Iph.res
065 | Measurement/RMS.VN
066 | Measurement/RMS.Vph.phsA
067 | Measurement/RMS.Vph.phsB
068 | Measurement/RMS.Vph.phsC
069 | Measurement/RMS.Vph.res
070 | Measurement/RMS.Vpp.phsAB
071 | Measurement/RMS.Vpp.phsBC
072 | Measurement/RMS.Vpp.phsCA
工程師簽章：
表單編號:QR-12-06 版本:A

## Section_TIE A
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | Section_TIE12A |  | Section_TIE34A
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | c_Control/CB Control.Position | 中文敘述: CB控制
002 | c_Control/DS Control.Position | 中文敘述: DS控制
003 | c_Control/ES Control.Position | 中文敘述: ES控制
004 | c_Control/BR DS Control.Position | 中文敘述: BR DS控制
005 | c_Control/BR ES Control.Position | 中文敘述: BR ES控制
006 | Control/CB Control.Position | 中文敘述: CB狀態
007 | Control/Circuit break.Status | 中文敘述: CB狀態
008 | Control/Disconnector.Status | 中文敘述: DS狀態
009 | Control/DS Control.Position | 中文敘述: DS狀態
010 | Control/Earth switch.Status | 中文敘述: ES狀態
011 | Control/ES Control.Position | 中文敘述: ES狀態
012 | Control/BR Disconnector.Status | 中文敘述: BR DS狀態
013 | Control/BR DS Control.Position | 中文敘述: BR DS狀態
014 | Control/BR Earth switch.Status | 中文敘述: BR ES狀態
015 | Control/BR ES Control.Position | 中文敘述: BR ES狀態
016 | Control/USER_GGIO1.43 Remote | 中文敘述: 43R開關旋鈕
017 | Control/USER_GGIO1.IED remote_local | 中文敘述: Local/Remote狀態
018 | Control/RSTP.Channel Failure | 中文敘述: 通訊(主)模組故障
019 | Control/RSTP.Redund. Channel Failure | 中文敘述: 通訊(備)模組故障
020 | _ComFault | 中文敘述: 通訊異常
021 | Protection/Device.Battery failure | 中文敘述: 內部電池異常
022 | Protection/Device.Physical health.Alarm | 中文敘述: 保護電驛異常
023 | Protection/Time sync.Time sync. error | 中文敘述: 時間同步異常
024 | Control/74TC.Trip-circuit failure | 中文敘述: 斷路器跳脫迴路故障
025 | Control/50BF.Trip T2 | 中文敘述: 開關故障警報
026 | Control/USER_GGIO1.MCB alarm PT | 中文敘述: PT斷路器跳脫警報
027 | Control/USER_GGIO1.MCB alarm power source | 中文敘述: 直流電源開關跳脫警報(除了IED電源)
028 | Control/USER_GGIO1.CB charge | 中文敘述: 開關儲能馬達運轉狀態
029 | Control/USER_GGIO1.Noninterlock | 中文敘述: 解除連鎖
030 | Control/USER_GGIO1.SF6 alarm | 中文敘述: SF6氣體不足警報
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | Control/UL_GAPC1.c_74TC use_lock | 中文敘述: 跳脫線圈監視功能使用/閉鎖
032 | Control/USER_GGIO1.86 alarm overcurrent | 中文敘述: 86閉鎖外部50/51動作
033 | Protection/27-1.Operate | 中文敘述: 保護27警報
034 | Protection/27-1.Pickup | 中文敘述: 保護27始動
035 | Protection/50-1.Operate | 中文敘述: 保護50-1警報
036 | Protection/50-1.Pickup | 中文敘述: 保護50-1始動
037 | Protection/50-2.Operate | 中文敘述: 保護50-2警報
038 | Protection/50-2.Pickup | 中文敘述: 保護50-2始動
039 | Protection/50N-1.Operate | 中文敘述: 保護50N-1始動
040 | Protection/50N-1.Pickup | 中文敘述: 保護50N-1警報
041 | Protection/50N-2.Operate | 中文敘述: 保護50N-2始動
042 | Protection/50N-2.Pickup | 中文敘述: 保護50N-2警報
043 | Protection/51.Operate | 中文敘述: 保護51警報
044 | Protection/51.Pickup | 中文敘述: 保護51始動
045 | Protection/51N.Operate | 中文敘述: 保護51N警報
046 | Protection/51N.Pickup | 中文敘述: 保護51N始動
047 | Protection/59-1.Operate | 中文敘述: 保護59警報
048 | Protection/59-1.Pickup | 中文敘述: 保護59始動
049 | Protection/67-1.Operate | 中文敘述: 保護67-1警報
050 | Protection/67-1.Pickup | 中文敘述: 保護67-1始動
051 | Protection/67-2.Operate | 中文敘述: 保護67-2警報
052 | Protection/67-2.Pickup | 中文敘述: 保護67-2始動
053 | Protection/67-Curve.Operate | 中文敘述: 保護67-Curve警報
054 | Protection/67-Curve.Pickup | 中文敘述: 保護67-Curve始動
055 | Protection/67N-1.Operate | 中文敘述: 保護67N-1警報
056 | Protection/67N-1.Pickup | 中文敘述: 保護67N-1始動
057 | Protection/67N-2.Operate | 中文敘述: 保護67N-2警報
058 | Protection/67N-2.Pickup | 中文敘述: 保護67N-2始動
059 | Protection/67N-Curve.Operate | 中文敘述: 保護67N-Curve警報
060 | Protection/67N-Curve.Pickup | 中文敘述: 保護67N-Curve始動
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Vph.phsA | 中文敘述: R相電壓; /: KV
062 | Measurement/RMS.Vph.phsB | 中文敘述: S相電壓; /: KV
063 | Measurement/RMS.Vph.phsC | 中文敘述: T相電壓; /: KV
064 | Measurement/RMS.Iph.phsA | 中文敘述: R相電流; /: A
065 | Measurement/RMS.Iph.phsB | 中文敘述: S相電流; /: A
066 | Measurement/RMS.Iph.phsC | 中文敘述: T相電流; /: A
067 | Measurement/Power.P tot | 中文敘述: 有效功率; /: KW
068 | Measurement/Power.Q tot | 中文敘述: 無效功率; /: KVAR
069 | Measurement/Power.S tot | 中文敘述: 視在功率; /: KVA
070 | Measurement/Power.f | bar: 中文敘述 to /
071 | Measurement/Power.PF | 中文敘述: 功率因數
072 | Measurement/Energy.SupVArh.actual | 中文敘述: 電能; /: KWH
073 | Measurement/Energy.SupWh.actual | 中文敘述: 無功電能; /: KVARH
074 | Measurement/RMS.Iph.res | 中文敘述: 會刪掉
075 | Measurement/RMS.VN | 中文敘述: 會刪掉
076 | Measurement/RMS.Vph.res | 中文敘述: 會刪掉
077 | Measurement/RMS.Vpp.phsAB | 中文敘述: 會刪掉
078 | Measurement/RMS.Vpp.phsBC | 中文敘述: 會刪掉
079 | Measurement/RMS.Vpp.phsCA | 中文敘述: 會刪掉
080 | Measurement/Energy.DmdVArh.actual | 中文敘述: 會刪掉
081 | Measurement/Energy.DmdWh.actual | 中文敘述: 會刪掉
082 | Control/USER_GGIO1.BR switch operate key | 中文敘述: 不確定哪個開關
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A

## BR_TIE B
Project name:IDB-E2
DOC name: |  | 自主 SAT 測試表格
Issued Date:
Version:
Project name:
Typical Type:7SJ82
Station: 33kV |  | SAT Date:
|  |  |  | BR_TIE12B |  | BR_TIE34B
no. | Device |  |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | SCADA / 畫面 |  | 備註
| Manual 敘述 | 中文敘述 | / | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確 | 正確 | 不正確
001 | Control/CB Control.Position | 中文敘述: CB狀態
002 | Control/Circuit break.Status | 中文敘述: CB狀態
003 | Control/Disconnector.Status | 中文敘述: DS狀態
004 | Control/DS Control.Position | 中文敘述: DS狀態
005 | Control/Earth switch.Status | 中文敘述: ES狀態
006 | Control/ES Control.Position | 中文敘述: ES狀態
007 | Control/BR Disconnector.Status | 中文敘述: BR DS狀態
008 | Control/BR DS Control.Position | 中文敘述: BR DS狀態
009 | Control/BR Earth switch.Status | 中文敘述: BR ES狀態
010 | Control/BR ES Control.Position | 中文敘述: BR ES狀態
011 | Control/USER_GGIO1.43 Remote | 中文敘述: 43R開關旋鈕
012 | Control/USER_GGIO1.IED remote_local | 中文敘述: Local/Remote狀態
013 | Control/RSTP.Channel Failure | 中文敘述: 通訊(主)模組故障
014 | Control/RSTP.Redund. Channel Failure | 中文敘述: 通訊(備)模組故障
015 | _ComFault | 中文敘述: 通訊異常
016 | Protection/Device.Battery failure | 中文敘述: 內部電池異常
017 | Protection/Device.Physical health.Alarm | 中文敘述: 保護電驛異常
018 | Protection/Time sync.Time sync. error | 中文敘述: 時間同步異常
019 | Control/74TC.Trip-circuit failure | 中文敘述: 斷路器跳脫迴路故障
020 | Control/50BF.Trip T2 | 中文敘述: 開關故障警報
021 | Control/USER_GGIO1.MCB alarm PT | 中文敘述: PT斷路器跳脫警報
022 | Control/USER_GGIO1.MCB alarm power source | 中文敘述: 直流電源開關跳脫警報(除了IED電源)
023 | Control/USER_GGIO1.CB charge | 中文敘述: 開關儲能馬達運轉狀態
024 | Control/USER_GGIO1.Noninterlock | 中文敘述: 解除連鎖
025 | Control/USER_GGIO1.SF6 alarm | 中文敘述: SF6氣體不足警報
026 | Control/UL_GAPC1.c_74TC use_lock | 中文敘述: 跳脫線圈監視功能使用/閉鎖
027 | Control/USER_GGIO1.86 alarm overcurrent | 中文敘述: 86閉鎖外部50/51動作
028 | Protection/27-1.Operate | 中文敘述: 保護27警報
029 | Protection/27-1.Pickup | 中文敘述: 保護27始動
030 | Protection/50-1.Operate | 中文敘述: 保護50-1警報
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
031 | Protection/50-1.Pickup | 中文敘述: 保護50-1始動
032 | Protection/50-2.Operate | 中文敘述: 保護50-2警報
033 | Protection/50-2.Pickup | 中文敘述: 保護50-2始動
034 | Protection/50N-1.Operate | 中文敘述: 保護50N-1始動
035 | Protection/50N-1.Pickup | 中文敘述: 保護50N-1警報
036 | Protection/50N-2.Operate | 中文敘述: 保護50N-2始動
037 | Protection/50N-2.Pickup | 中文敘述: 保護50N-2警報
038 | Protection/51.Operate | 中文敘述: 保護51警報
039 | Protection/51.Pickup | 中文敘述: 保護51始動
040 | Protection/51N.Operate | 中文敘述: 保護51N警報
041 | Protection/51N.Pickup | 中文敘述: 保護51N始動
042 | Protection/59-1.Operate | 中文敘述: 保護59警報
043 | Protection/59-1.Pickup | 中文敘述: 保護59始動
044 | Protection/67-1.Operate | 中文敘述: 保護67-1警報
045 | Protection/67-1.Pickup | 中文敘述: 保護67-1始動
046 | Protection/67-2.Operate | 中文敘述: 保護67-2警報
047 | Protection/67-2.Pickup | 中文敘述: 保護67-2始動
048 | Protection/67-Curve.Operate | 中文敘述: 保護67-Curve警報
049 | Protection/67-Curve.Pickup | 中文敘述: 保護67-Curve始動
050 | Protection/67N-1.Operate | 中文敘述: 保護67N-1警報
051 | Protection/67N-1.Pickup | 中文敘述: 保護67N-1始動
052 | Protection/67N-2.Operate | 中文敘述: 保護67N-2警報
053 | Protection/67N-2.Pickup | 中文敘述: 保護67N-2始動
054 | Protection/67N-Curve.Operate | 中文敘述: 保護67N-Curve警報
055 | Protection/67N-Curve.Pickup | 中文敘述: 保護67N-Curve始動
056 | Measurement/RMS.Vph.phsA | 中文敘述: R相電壓; /: KV
057 | Measurement/RMS.Vph.phsB | 中文敘述: S相電壓; /: KV
058 | Measurement/RMS.Vph.phsC | 中文敘述: T相電壓; /: KV
059 | Measurement/RMS.Iph.phsA | 中文敘述: R相電流; /: A
060 | Measurement/RMS.Iph.phsB | 中文敘述: S相電流; /: A
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A
061 | Measurement/RMS.Iph.phsC | 中文敘述: T相電流; /: A
062 | Measurement/Power.P tot | 中文敘述: 有效功率; /: KW
063 | Measurement/Power.Q tot | 中文敘述: 無效功率; /: KVAR
064 | Measurement/Power.S tot | 中文敘述: 視在功率; /: KVA
065 | Measurement/Power.f | bar: 中文敘述 to /
066 | Measurement/Power.PF | 中文敘述: 功率因數
067 | Measurement/Energy.SupVArh.actual | 中文敘述: 電能; /: KWH
068 | Measurement/Energy.SupWh.actual | 中文敘述: 無功電能; /: KVARH
069 | Measurement/RMS.Iph.res | 中文敘述: 會刪掉
070 | Measurement/RMS.VN | 中文敘述: 會刪掉
071 | Measurement/RMS.Vph.res | 中文敘述: 會刪掉
072 | Measurement/RMS.Vpp.phsAB | 中文敘述: 會刪掉
073 | Measurement/RMS.Vpp.phsBC | 中文敘述: 會刪掉
074 | Measurement/RMS.Vpp.phsCA | 中文敘述: 會刪掉
075 | Measurement/Energy.DmdVArh.actual | 中文敘述: 會刪掉
076 | Measurement/Energy.DmdWh.actual | 中文敘述: 會刪掉
077 | Control/USER_GGIO1.BR switch operate key | 中文敘述: 不確定哪個開關
Vena: SIEMENS: 測試廠商:
表單編號:QR-12-06 版本:A