## FAB-L10-E(SUS21)
A3 SCADA PLC I/O LIST
盤名 |  |  |  | 日期：2021/08/20 版本：-V1
Location：
模組 |  |  | Add. | 說明
DI-01 | 0 | 0 | 000.0 | FAF-001-Fan System Running/Stop
| 0 | 1 | 000.1 | FAF-001-Wind pressure Switch
| 0 | 2 | 000.2 | FAF-001-Fan Auto Control
| 0 | 3 | 000.3 | FAF-001-Fan Manual Control
| 0 | 4 | 000.4 | FAF-001-Fan System trip
| 0 | 5 | 000.5 | FAF-001-Fan System Fire Alarm
| 0 | 6 | 000.6 | FAF-101-Fan System Running/Stop
| 0 | 7 | 000.7 | FAF-101-Wind pressure Switch
| 1 | 0 | 001.0 | FAF-101-Fan Auto Control
| 1 | 1 | 001.1 | FAF-101-Fan Manual Control
| 1 | 2 | 001.2 | FAF-101-Fan System trip
| 1 | 3 | 001.3 | FAF-101-Fan System Fire Alarm
| 1 | 4 | 001.4 | MCD-111-Electric Damper Running/Stop
| 1 | 5 | 001.5 | FAF-102-Fan System Running/Stop
| 1 | 6 | 001.6 | FAF-102-Wind pressure Switch
| 1 | 7 | 001.7 | FAF-102-Fan Auto Control
| 2 | 0 | 002.0 | FAF-102-Fan Manual Control
| 2 | 1 | 002.1 | FAF-102-Fan System trip
| 2 | 2 | 002.2 | FAF-102-Fan System Fire Alarm
| 2 | 3 | 002.3 | FAF-201-Fan System Running/Stop
| 2 | 4 | 002.4 | FAF-201-Wind pressure Switch
| 2 | 5 | 002.5 | FAF-201-Fan Auto Control
| 2 | 6 | 002.6 | FAF-201-Fan Manual Control
| 2 | 7 | 002.7 | FAF-201-Fan System trip
| 3 | 0 | 003.0 | FAF-201-Fan System Fire Alarm
| 3 | 1 | 003.1 | FAF-201-Fan System Running/Stop
| 3 | 2 | 003.2 | FAF-201-Wind pressure Switch
| 3 | 3 | 003.3 | FAF-201-Fan Auto Control
| 3 | 4 | 003.4 | FAF-201-Fan Manual Control
| 3 | 5 | 003.5 | FAF-201-Fan System trip
| 3 | 6 | 003.6 | FAF-201-Fan System Fire Alarm
| 3 | 7 | 003.7 | MCD-211-Electric Damper Running/Stop
DI-02 | 4 | 0 | 004.0 | MCD-212-Electric Damper Running/Stop
| 4 | 1 | 004.1 | MCD-2B-Electric Damper Running/Stop
| 4 | 2 | 004.2 | EAF-001-Fan System Running/Stop
| 4 | 3 | 004.3 | EAF-001-Wind pressure Switch
| 4 | 4 | 004.4 | EAF-001-Fan Auto Control
| 4 | 5 | 004.5 | EAF-001-Fan Manual Control
| 4 | 6 | 004.6 | EAF-001-Fan System trip
| 4 | 7 | 004.7 | EAF-001-Fan System Fire Alarm
| 5 | 0 | 005.0 | EAF-101-Fan System Running/Stop
| 5 | 1 | 005.1 | EAF-101-Wind pressure Switch
| 5 | 2 | 005.2 | EAF-101-Fan Auto Control
| 5 | 3 | 005.3 | EAF-101-Fan Manual Control
| 5 | 4 | 005.4 | EAF-101-Fan System trip
| 5 | 5 | 005.5 | EAF-101-Fan System Fire Alarm
| 5 | 6 | 005.6 | MCD-11A-Electric Damper Running/Stop
| 5 | 7 | 005.7 | EAF-102-Fan System Running/Stop
| 6 | 0 | 006.0 | EAF-102-Wind pressure Switch
| 6 | 1 | 006.1 | EAF-102-Fan Auto Control
| 6 | 2 | 006.2 | EAF-102-Fan Manual Control
| 6 | 3 | 006.3 | EAF-102-Fan System trip
| 6 | 4 | 006.4 | EAF-102-Fan System Fire Alarm
| 6 | 5 | 006.5 | EAF-103-Fan System Running/Stop
| 6 | 6 | 006.6 | EAF-103-Wind pressure Switch
| 6 | 7 | 006.7 | EAF-103-Fan Auto Control
| 7 | 0 | 007.0 | EAF-103-Fan Manual Control
| 7 | 1 | 007.1 | EAF-103-Fan System trip
| 7 | 2 | 007.2 | EAF-103-Fan System Fire Alarm
| 7 | 3 | 007.3 | EAF-104-Fan System Running/Stop
| 7 | 4 | 007.4 | EAF-104-Wind pressure Switch
| 7 | 5 | 007.5 | EAF-104-Fan Auto Control
| 7 | 6 | 007.6 | EAF-104-Fan Manual Control
| 7 | 7 | 007.7 | EAF-104-Fan System trip
DI-03 | 8 | 0 | 008.0 | EAF-104-Fan System Fire Alarm
| 8 | 1 | 008.1 | EAF-105-Fan System Running/Stop
| 8 | 2 | 008.2 | EAF-105-Wind pressure Switch
| 8 | 3 | 008.3 | EAF-105-Fan Auto Control
| 8 | 4 | 008.4 | EAF-105-Fan Manual Control
| 8 | 5 | 008.5 | EAF-105-Fan System trip
| 8 | 6 | 008.6 | EAF-105-Fan System Fire Alarm
| 9 | 7 | 009.7 | EAF-201-Fan System Running/Stop
| 9 | 0 | 009.0 | EAF-201-Wind pressure Switch
| 9 | 1 | 009.1 | EAF-201-Fan Auto Control
| 9 | 2 | 009.2 | EAF-201-Fan Manual Control
| 9 | 3 | 009.3 | EAF-201-Fan System trip
| 9 | 4 | 009.4 | EAF-201-Fan System Fire Alarm
| 9 | 5 | 009.5 | MCD-21A-Electric Damper Running/Stop
| 9 | 6 | 009.6 | MCD-21B-Electric Damper Running/Stop
| 9 | 7 | 009.7 | WF-102-Fan System Running/Stop
| 10 | 0 | 010.0 | WF-102-Fan Auto Control
| 10 | 1 | 010.1 | WF-102-Fan Manual Control
| 10 | 2 | 010.2 | WF-102-Fan System trip
| 10 | 3 | 010.3 | WF-102-Fan System Fire Alarm
| 10 | 4 | 010.4 | MCD-1B-Electric Damper Running/Stop
| 10 | 5 | 010.5 | WF-102-Fan System Running/Stop
| 10 | 6 | 010.6 | WF-102-Fan Auto Control
| 10 | 7 | 010.7 | WF-102-Fan Manual Control
| 11 | 0 | 011.0 | WF-102-Fan System trip
| 11 | 1 | 011.1 | WF-102-Fan System Fire Alarm
| 11 | 2 | 011.2 | MCD-1B-Electric Damper Running/Stop
| 11 | 3 | 011.3 | WF-102-Fan System Running/Stop
| 11 | 4 | 011.4 | WF-102-Fan Auto Control
| 11 | 5 | 011.5 | WF-102-Fan Manual Control
| 11 | 6 | 011.6 | WF-102-Fan System trip
| 11 | 7 | 011.7 | WF-102-Fan System Fire Alarm
DI-04 | 12 | 0 | 012.0 | MCD-1B-Electric Damper Running/Stop
| 12 | 1 | 012.1 | WF-102-Fan System Running/Stop
| 12 | 2 | 012.2 | WF-102-Fan Auto Control
| 12 | 3 | 012.3 | WF-102-Fan Manual Control
| 12 | 4 | 012.4 | WF-102-Fan System trip
| 12 | 5 | 012.5 | WF-102-Fan System Fire Alarm
| 12 | 6 | 012.6 | MCD-1B-Electric Damper Running/Stop
| 12 | 7 | 012.7 | WF-103-Fan System Running/Stop
| 13 | 0 | 013.0 | WF-103-Fan Auto Control
| 13 | 1 | 013.1 | WF-103-Fan Manual Control
| 13 | 2 | 013.2 | WF-103-Fan System trip
| 13 | 3 | 013.3 | WF-103-Fan System Fire Alarm
| 13 | 4 | 013.4 | MCD-1B-Electric Damper Running/Stop
| 13 | 5 | 013.5 | WF-104-Fan System Running/Stop
| 13 | 6 | 013.6 | WF-104-Fan Auto Control
| 13 | 7 | 013.7 | WF-104-Fan Manual Control
| 14 | 0 | 014.0 | WF-104-Fan System trip
| 14 | 1 | 014.1 | WF-104-Fan System Fire Alarm
| 14 | 2 | 014.2 | OU-301-Air Conditioner System Running/Stop
| 14 | 3 | 014.3 | OU-301-Air Conditioner Wind pressure Switch
| 14 | 4 | 014.4 | OU-301-Air Conditioner Auto Control
| 14 | 5 | 014.5 | OU-301-Air Conditioner Manual Control
| 14 | 6 | 014.6 | OU-301-Air Conditioner System Trip
| 14 | 7 | 014.7 | OU-301-Air Conditioner System Fire Alarm
| 15 | 0 | 015.0 | OU-302-Air Conditioner System Running/Stop
| 15 | 1 | 015.1 | OU-302-Air Conditioner Wind pressure Switch
| 15 | 2 | 015.2 | OU-302-Air Conditioner Auto Control
| 15 | 3 | 015.3 | OU-302-Air Conditioner Manual Control
| 15 | 4 | 015.4 | OU-302-Air Conditioner System Trip
| 15 | 5 | 015.5 | OU-302-Air Conditioner System Fire Alarm
| 15 | 6 | 015.6 | OU-303-Air Conditioner System Running/Stop
| 15 | 7 | 015.7 | OU-303-Air Conditioner Wind pressure Switch
DI-05 | 16 | 0 | 016.0 | OU-303-Air Conditioner Auto Control
| 16 | 1 | 016.1 | OU-303-Air Conditioner Manual Control
| 16 | 2 | 016.2 | OU-303-Air Conditioner System Trip
| 16 | 3 | 016.3 | OU-303-Air Conditioner System Fire Alarm
| 16 | 4 | 016.4 | LFAP-Fire System Comprehensive Alarm
| 16 | 5 | 016.5 | LFAP-Fire System equipment fault
| 16 | 6 | 016.6 | LFAP-Fire System Fire Alarm
| 16 | 7 | 016.7 | WP-1,2-System Running/Stop
| 17 | 0 | 017.0 | WP-1,2-System Auto Control
| 17 | 1 | 017.1 | WP-1,2-System Manual Control
| 17 | 2 | 017.2 | WP-1,2-System equipment fault
| 17 | 3 | 017.3 | WT-01-Water Level H
| 17 | 4 | 017.4 | WT-01-Water Level L
| 17 | 5 | 017.5 | WT-02-Water Level H
| 17 | 6 | 017.6 | WT-02-Water Level L
| 17 | 7 | 017.7 | BP-1,2-System Running/Stop
| 18 | 0 | 018.0 | BP-1,2-System Auto Control
| 18 | 1 | 018.1 | BP-1,2-System Manual Control
| 18 | 2 | 018.2 | BP-1,2-System equipment fault
| 18 | 3 | 018.3 | BP-3-System Running/Stop
| 18 | 4 | 018.4 | BP-3-System Auto Control
| 18 | 5 | 018.5 | BP-3-System Manual Control
| 18 | 6 | 018.6 | BP-3-System equipment fault
| 18 | 7 | 018.7 | DP-1,2-System Running/Stop
| 19 | 0 | 019.0 | DP-1,2-System Auto Control
| 19 | 1 | 019.1 | DP-1,2-System Manual Control
| 19 | 2 | 019.2 | DP-1,2-System equipment fault
| 19 | 3 | 019.3 | WT-11-Water Level H
| 19 | 4 | 019.4 | WT-11-Water Level L
| 19 | 5 | 019.5 | WT-11-Water Level LL
| 19 | 6 | 019.6 | DP-3,4-System Running/Stop
| 19 | 7 | 019.7 | DP-3,4-System Auto Control
DI-06 | 20 | 0 | 020.0 | DP-3,4-System Manual Control
| 20 | 1 | 020.1 | DP-3,4-System equipment fault
| 20 | 2 | 020.2 | WT-12-Water Level H
| 20 | 3 | 020.3 | WT-12-Water Level L
| 20 | 4 | 020.4 | WT-12-Water Level LL
| 20 | 5 | 020.5 | SPARE
| 20 | 6 | 020.6 | SPARE
| 20 | 7 | 020.7 | SPARE
| 21 | 0 | 021.0 | SPARE
| 21 | 1 | 021.1 | SPARE
| 21 | 2 | 021.2 | SPARE
| 21 | 3 | 021.3 | SPARE
| 21 | 4 | 021.4 | SPARE
| 21 | 5 | 021.5 | SPARE
| 21 | 6 | 021.6 | SPARE
| 21 | 7 | 021.7 | SPARE
| 22 | 0 | 022.0 | SPARE
| 22 | 1 | 022.1 | SPARE
| 22 | 2 | 022.2 | SPARE
| 22 | 3 | 022.3 | SPARE
| 22 | 4 | 022.4 | SPARE
| 22 | 5 | 022.5 | SPARE
| 22 | 6 | 022.6 | SPARE
| 22 | 7 | 022.7 | SPARE
| 23 | 0 | 023.0 | SPARE
| 23 | 1 | 023.1 | SPARE
| 23 | 2 | 023.2 | SPARE
| 23 | 3 | 023.3 | SPARE
| 23 | 4 | 023.4 | SPARE
| 23 | 5 | 023.5 | SPARE
| 23 | 6 | 023.6 | SPARE
| 23 | 7 | 023.7 | SPARE
DO-01 | 0 | 0 | 000.0 | FAF-001-Fan System Running/Stop
| 0 | 1 | 000.1 | FAF-101-Fan System Running/Stop
| 0 | 2 | 000.2 | MCD-111-Electric Damper Running/Stop
| 0 | 3 | 000.3 | FAF-102-Fan System Running/Stop
| 0 | 4 | 000.4 | FAF-201-Fan System Running/Stop
| 0 | 5 | 000.5 | FAF-201-Fan System Running/Stop
| 0 | 6 | 000.6 | MCD-211-Electric Damper Running/Stop
| 0 | 7 | 000.7 | MCD-212-Electric Damper Running/Stop
| 1 | 0 | 001.0 | MCD-2B-Electric Damper Running/Stop
| 1 | 1 | 001.1 | EAF-001-Fan System Running/Stop
| 1 | 2 | 001.2 | EAF-101-Fan System Running/Stop
| 1 | 3 | 001.3 | MCD-11A-Electric Damper Running/Stop
| 1 | 4 | 001.4 | EAF-102-Fan System Running/Stop
| 1 | 5 | 001.5 | EAF-103-Fan System Running/Stop
| 1 | 6 | 001.6 | EAF-104-Fan System Running/Stop
| 1 | 7 | 001.7 | EAF-105-Fan System Running/Stop
| 2 | 0 | 002.0 | EAF-201-Fan System Running/Stop
| 2 | 1 | 002.1 | MCD-21A-Electric Damper Running/Stop
| 2 | 2 | 002.2 | MCD-21B-Electric Damper Running/Stop
| 2 | 3 | 002.3 | WF-102-Fan System Running/Stop
| 2 | 4 | 002.4 | MCD-1B-Electric Damper Running/Stop
| 2 | 5 | 002.5 | WF-102-Fan System Running/Stop
| 2 | 6 | 002.6 | MCD-1B-Electric Damper Running/Stop
| 2 | 7 | 002.7 | WF-102-Fan System Running/Stop
| 3 | 0 | 003.0 | MCD-1B-Electric Damper Running/Stop
| 3 | 1 | 003.1 | WF-102-Fan System Running/Stop
| 3 | 2 | 003.2 | MCD-1B-Electric Damper Running/Stop
| 3 | 3 | 003.3 | WF-103-Fan System Running/Stop
| 3 | 4 | 003.4 | MCD-1B-Electric Damper Running/Stop
| 3 | 5 | 003.5 | WF-104-Fan System Running/Stop
| 3 | 6 | 003.6 | OU-301-Air Conditioner System Running/Stop
| 3 | 7 | 003.7 | OU-302-Air Conditioner System Running/Stop
DO-02 | 4 | 0 | 004.0 | OU-303-Air Conditioner System Running/Stop
| 4 | 1 | 004.1 | WP-1,2-System Running/Stop
| 4 | 2 | 004.2 | BP-1,2-System Running/Stop
| 4 | 3 | 004.3 | BP-3-System Running/Stop
| 4 | 4 | 004.4 | DP-1,2-System Running/Stop
| 4 | 5 | 004.5 | DP-3,4-System Running/Stop
| 4 | 6 | 004.6 | SPARE
| 4 | 7 | 004.7 | SPARE
| 5 | 0 | 005.0 | SPARE
| 5 | 1 | 005.1 | SPARE
| 5 | 2 | 005.2 | SPARE
| 5 | 3 | 005.3 | SPARE
| 5 | 4 | 005.4 | SPARE
| 5 | 5 | 005.5 | SPARE
| 5 | 6 | 005.6 | SPARE
| 5 | 7 | 005.7 | SPARE
| 6 | 0 | 006.0 | SPARE
| 6 | 1 | 006.1 | SPARE
| 6 | 2 | 006.2 | SPARE
| 6 | 3 | 006.3 | SPARE
| 6 | 4 | 006.4 | SPARE
| 6 | 5 | 006.5 | SPARE
| 6 | 6 | 006.6 | SPARE
| 6 | 7 | 006.7 | SPARE
| 7 | 0 | 007.0 | SPARE
| 7 | 1 | 007.1 | SPARE
| 7 | 2 | 007.2 | SPARE
| 7 | 3 | 007.3 | SPARE
| 7 | 4 | 007.4 | SPARE
| 7 | 5 | 007.5 | SPARE
| 7 | 6 | 007.6 | SPARE
| 7 | 7 | 007.7 | SPARE
AI-01 | W101 |  | W101 | TSM-Temp【變壓器室(一)】
| W103 |  | W103 | TSM-Temp【變壓器室(二)】
| W105 |  | W105 | TSM-Temp【變壓器室(三)】
| W107 |  | W107 | TSM-Temp【變壓器室(四)】
| W109 |  | W109 | TSM-Temp【氣體絕緣開關室】
| W111 |  | W111 | TSM-Temp【氣體絕緣開關室】
| W113 |  | W113 | TSM-Temp【1F發電機室】
| W115 |  | W115