## A8000 雜項
DI |  | DO |  | AI
FAF-001-Fan System Running/Stop | B1F | FAF-001-Fan System Running/Stop | B1F | TSM-Temp【變壓器室(一)】
FAF-001-Wind pressure Switch | B1F | FAF-101-Fan System Running/Stop | 1F風機房 | TSM-Temp【變壓器室(二)】
FAF-001-Fan Auto Control | B1F | MCD-111-Electric Damper Running/Stop | 1F配電室 | TSM-Temp【變壓器室(三)】
FAF-001-Fan Manual Control | B1F | FAF-102-Fan System Running/Stop | 1F風機房 | TSM-Temp【變壓器室(四)】
FAF-001-Fan System trip | B1F | FAF-201-Fan System Running/Stop | 2F風機房 | TSM-Temp【氣體絕緣開關室】
FAF-001-Fan System Fire Alarm | B1F | FAF-202-Fan System Running/Stop | 2F風機房 | TSM-Temp【氣體絕緣開關室】
FAF-101-Fan System Running/Stop | 1F風機房 | MCD-211-Electric Damper Running/Stop | 2F低壓配電室 | TSM-Temp【1F發電機室】
FAF-101-Wind pressure Switch | 1F風機房 | MCD-212-Electric Damper Running/Stop | 2F電驛室
FAF-101-Fan Auto Control | 1F風機房 | MCD-2B-Electric Damper Running/Stop | 2F低壓配電室
FAF-101-Fan Manual Control | 1F風機房 | EAF-001-Fan System Running/Stop | B1F
FAF-101-Fan System trip | 1F風機房 | EAF-101-Fan System Running/Stop | 1F風機房
FAF-101-Fan System Fire Alarm | 1F風機房 | MCD-11A-Electric Damper Running/Stop | 1F配電室
MCD-111-Electric Damper Running/Stop | 1F配電室 | EAF-102-Fan System Running/Stop | 1F備品室
FAF-102-Fan System Running/Stop | 1F風機房 | EAF-103-Fan System Running/Stop | 1F無障礙廁所
FAF-102-Wind pressure Switch | 1F風機房 | EAF-104-Fan System Running/Stop | 1F電池室
FAF-102-Fan Auto Control | 1F風機房 | EAF-105-Fan System Running/Stop | 1F電池室
FAF-102-Fan Manual Control | 1F風機房 | EAF-201-Fan System Running/Stop | 2F電驛室
FAF-102-Fan System trip | 1F風機房 | MCD-21A-Electric Damper Running/Stop | 2F低壓配電室
FAF-102-Fan System Fire Alarm | 1F風機房 | MCD-21B-Electric Damper Running/Stop | 2F電驛室
FAF-201-Fan System Running/Stop | 2F風機房 | WF-102-Fan System Running/Stop | 變壓器室(一)
FAF-201-Wind pressure Switch | 2F風機房 | MCD-1B-Electric Damper Running/Stop | 變壓器室(一)
FAF-201-Fan Auto Control | 2F風機房 | WF-102-Fan System Running/Stop | 變壓器室(二)
FAF-201-Fan Manual Control | 2F風機房 | MCD-1B-Electric Damper Running/Stop | 變壓器室(二)
FAF-201-Fan System trip | 2F風機房 | WF-102-Fan System Running/Stop | 變壓器室(三)
FAF-201-Fan System Fire Alarm | 2F風機房 | MCD-1B-Electric Damper Running/Stop | 變壓器室(三)
FAF-202-Fan System Running/Stop | 2F風機房 | WF-102-Fan System Running/Stop | 變壓器室(四)
FAF-202-Wind pressure Switch | 2F風機房 | MCD-1B-Electric Damper Running/Stop | 變壓器室(四)
FAF-202-Fan Auto Control | 2F風機房 | WF-103-Fan System Running/Stop | 氣體絕緣開關室
FAF-202-Fan Manual Control | 2F風機房 | MCD-1B-Electric Damper Running/Stop | 氣體絕緣開關室
FAF-202-Fan System trip | 2F風機房 | WF-104-Fan System Running/Stop | 1F發電機室
FAF-202-Fan System Fire Alarm | 2F風機房 | OU-301-Air Conditioner System Running/Stop | 3F室外
MCD-211-Electric Damper Running/Stop | 2F低壓配電室 | OU-302-Air Conditioner System Running/Stop | 3F室外
MCD-212-Electric Damper Running/Stop | 2F電驛室 | OU-303-Air Conditioner System Running/Stop | 3F室外
MCD-2B-Electric Damper Running/Stop | 2F低壓配電室 | WP-1,2-System Running/Stop | B1F自來水受水箱室
EAF-001-Fan System Running/Stop | B1F | BP-1,2-System Running/Stop | RF
EAF-001-Wind pressure Switch | B1F | BP-3-System Running/Stop | B1F
EAF-001-Fan Auto Control | B1F | DP-1,2-System Running/Stop | B1F
EAF-001-Fan Manual Control | B1F | DP-3,4-System Running/Stop | B1F集水坑
EAF-001-Fan System trip | B1F
EAF-001-Fan System Fire Alarm | B1F
EAF-101-Fan System Running/Stop | 1F風機房
EAF-101-Wind pressure Switch | 1F風機房
EAF-101-Fan Auto Control | 1F風機房
EAF-101-Fan Manual Control | 1F風機房
EAF-101-Fan System trip | 1F風機房
EAF-101-Fan System Fire Alarm | 1F風機房
MCD-11A-Electric Damper Running/Stop | 1F配電室
EAF-102-Fan System Running/Stop | 1F備品室
EAF-102-Wind pressure Switch | 1F備品室
EAF-102-Fan Auto Control | 1F備品室
EAF-102-Fan Manual Control | 1F備品室
EAF-102-Fan System trip | 1F備品室
EAF-102-Fan System Fire Alarm | 1F備品室
EAF-103-Fan System Running/Stop | 1F無障礙廁所
EAF-103-Wind pressure Switch | 1F無障礙廁所
EAF-103-Fan Auto Control | 1F無障礙廁所
EAF-103-Fan Manual Control | 1F無障礙廁所
EAF-103-Fan System trip | 1F無障礙廁所
EAF-103-Fan System Fire Alarm | 1F無障礙廁所
EAF-104-Fan System Running/Stop | 1F電池室
EAF-104-Wind pressure Switch | 1F電池室
EAF-104-Fan Auto Control | 1F電池室
EAF-104-Fan Manual Control | 1F電池室
EAF-104-Fan System trip | 1F電池室
EAF-104-Fan System Fire Alarm | 1F電池室
EAF-105-Fan System Running/Stop | 1F電池室
EAF-105-Wind pressure Switch | 1F電池室
EAF-105-Fan Auto Control | 1F電池室
EAF-105-Fan Manual Control | 1F電池室
EAF-105-Fan System trip | 1F電池室
EAF-105-Fan System Fire Alarm | 1F電池室
EAF-201-Fan System Running/Stop | 2F電驛室
EAF-201-Wind pressure Switch | 2F電驛室
EAF-201-Fan Auto Control | 2F電驛室
EAF-201-Fan Manual Control | 2F電驛室
EAF-201-Fan System trip | 2F電驛室
EAF-201-Fan System Fire Alarm | 2F電驛室
MCD-21A-Electric Damper Running/Stop | 2F低壓配電室
MCD-21B-Electric Damper Running/Stop | 2F電驛室
WF-102-Fan System Running/Stop | 變壓器室(一)
WF-102-Fan Auto Control | 變壓器室(一)
WF-102-Fan Manual Control | 變壓器室(一)
WF-102-Fan System trip | 變壓器室(一)
WF-102-Fan System Fire Alarm | 變壓器室(一)
MCD-1B-Electric Damper Running/Stop | 變壓器室(一)
WF-102-Fan System Running/Stop | 變壓器室(二)
WF-102-Fan Auto Control | 變壓器室(二)
WF-102-Fan Manual Control | 變壓器室(二)
WF-102-Fan System trip | 變壓器室(二)
WF-102-Fan System Fire Alarm | 變壓器室(二)
MCD-1B-Electric Damper Running/Stop | 變壓器室(二)
WF-102-Fan System Running/Stop | 變壓器室(三)
WF-102-Fan Auto Control | 變壓器室(三)
WF-102-Fan Manual Control | 變壓器室(三)
WF-102-Fan System trip | 變壓器室(三)
WF-102-Fan System Fire Alarm | 變壓器室(三)
MCD-1B-Electric Damper Running/Stop | 變壓器室(三)
WF-102-Fan System Running/Stop | 變壓器室(四)
WF-102-Fan Auto Control | 變壓器室(四)
WF-102-Fan Manual Control | 變壓器室(四)
WF-102-Fan System trip | 變壓器室(四)
WF-102-Fan System Fire Alarm | 變壓器室(四)
MCD-1B-Electric Damper Running/Stop | 變壓器室(四)
WF-103-Fan System Running/Stop | 氣體絕緣開關室
WF-103-Fan Auto Control | 氣體絕緣開關室
WF-103-Fan Manual Control | 氣體絕緣開關室
WF-103-Fan System trip | 氣體絕緣開關室
WF-103-Fan System Fire Alarm | 氣體絕緣開關室
MCD-1B-Electric Damper Running/Stop | 氣體絕緣開關室
WF-104-Fan System Running/Stop | 1F發電機室
WF-104-Fan Auto Control | 1F發電機室
WF-104-Fan Manual Control | 1F發電機室
WF-104-Fan System trip | 1F發電機室
WF-104-Fan System Fire Alarm | 1F發電機室
OU-301-Air Conditioner System Running/Stop | 3F室外
OU-301-Air Conditioner Wind pressure Switch | 3F室外
OU-301-Air Conditioner Auto Control | 3F室外
OU-301-Air Conditioner Manual Control | 3F室外
OU-301-Air Conditioner System Trip | 3F室外
OU-301-Air Conditioner System Fire Alarm | 3F室外
OU-302-Air Conditioner System Running/Stop | 3F室外
OU-302-Air Conditioner Wind pressure Switch | 3F室外
OU-302-Air Conditioner Auto Control | 3F室外
OU-302-Air Conditioner Manual Control | 3F室外
OU-302-Air Conditioner System Trip | 3F室外
OU-302-Air Conditioner System Fire Alarm | 3F室外
OU-303-Air Conditioner System Running/Stop | 3F室外
OU-303-Air Conditioner Wind pressure Switch | 3F室外
OU-303-Air Conditioner Auto Control | 3F室外
OU-303-Air Conditioner Manual Control | 3F室外
OU-303-Air Conditioner System Trip | 3F室外
OU-303-Air Conditioner System Fire Alarm | 3F室外
LFAP-Fire System Comprehensive Alarm
LFAP-Fire System equipment fault
LFAP-Fire System Fire Alarm
WP-1,2-System Running/Stop | B1F自來水受水箱室
WP-1,2-System Record log | B1F自來水受水箱室
WP-1,2-System Auto Control | B1F自來水受水箱室
WP-1,2-System Manual Control | B1F自來水受水箱室
WP-1,2-System equipment fault | B1F自來水受水箱室
WT-01-Water Level H | RF自來水箱室
WT-01-Water Level L | RF自來水箱室
WT-02-Water Level H | B1F自來水箱
WT-02-Water Level L | B1F自來水箱
BP-1,2-System Running/Stop | RF
BP-1,2-System Record log | RF
BP-1,2-System Auto Control | RF
BP-1,2-System Manual Control | RF
BP-1,2-System equipment fault | RF
BP-3-System Running/Stop | B1F
BP-3-System Record log | B1F
BP-3-System Auto Control | B1F
BP-3-System Manual Control | B1F
BP-3-System equipment fault | B1F
DP-1,2-System Running/Stop | B1F
DP-1,2-System Record log | B1F
DP-1,2-System Auto Control | B1F
DP-1,2-System Manual Control | B1F
DP-1,2-System equipment fault | B1F
WT-11-Water Level H | B1F集水坑
WT-11-Water Level L | B1F集水坑
WT-11-Water Level LL | B1F集水坑
DP-3,4-System Running/Stop | B1F
DP-3,4-System Record log | B1F
DP-3,4-System Auto Control | B1F
DP-3,4-System Manual Control | B1F
DP-3,4-System equipment fault | B1F
WT-12-Water Level H | B1F集水坑
WT-12-Water Level L | B1F集水坑
WT-12-Water Level LL | B1F集水坑

## 工作表1
MP1-VCB ON/OFF | 配電室(二)
FAF-101-Fan System Running/Stop | 1F風機房
FAF-101-Wind pressure Switch | 1F風機房
FAF-101-Fan Auto Control | 1F風機房
FAF-101-Fan Manual Control | 1F風機房
FAF-101-Fan System trip | 1F風機房
FAF-101-Fan System Fire Alarm | 1F風機房
FAF-102-Fan System Running/Stop | 1F風機房
FAF-102-Wind pressure Switch | 1F風機房
FAF-102-Fan Auto Control | 1F風機房
FAF-102-Fan Manual Control | 1F風機房
FAF-102-Fan System trip | 1F風機房
FAF-102-Fan System Fire Alarm | 1F風機房
EAF-101-Fan System Running/Stop | 1F風機房
EAF-101-Wind pressure Switch | 1F風機房
EAF-101-Fan Auto Control | 1F風機房
EAF-101-Fan Manual Control | 1F風機房
EAF-101-Fan System trip | 1F風機房
EAF-101-Fan System Fire Alarm | 1F風機房
MCD-111-Electric Damper Running/Stop | 1F配電室
MCD-11A-Electric Damper Running/Stop | 1F配電室
EAF-102-Fan System Running/Stop | 1F備品室
EAF-102-Wind pressure Switch | 1F備品室
EAF-102-Fan Auto Control | 1F備品室
EAF-102-Fan Manual Control | 1F備品室
EAF-102-Fan System trip | 1F備品室
EAF-102-Fan System Fire Alarm | 1F備品室
EAF-103-Fan System Running/Stop | 1F無障礙廁所
EAF-103-Wind pressure Switch | 1F無障礙廁所
EAF-103-Fan Auto Control | 1F無障礙廁所
EAF-103-Fan Manual Control | 1F無障礙廁所
EAF-103-Fan System trip | 1F無障礙廁所
EAF-103-Fan System Fire Alarm | 1F無障礙廁所
WF-104-Fan System Running/Stop | 1F發電機室
WF-104-Fan Auto Control | 1F發電機室
WF-104-Fan Manual Control | 1F發電機室
WF-104-Fan System trip | 1F發電機室
WF-104-Fan System Fire Alarm | 1F發電機室
Charger1-fault | 1F電池室
Charger1-AC Votage Low | 1F電池室
Charger1-DC Votage High | 1F電池室
Charger1-DC Votage Low | 1F電池室
Charger2-fault | 1F電池室
Charger2-AC Votage Low | 1F電池室
Charger2-DC Votage High | 1F電池室
Charger2-DC Votage Low | 1F電池室
EAF-104-Fan System Running/Stop | 1F電池室
EAF-104-Wind pressure Switch | 1F電池室
EAF-104-Fan Auto Control | 1F電池室
EAF-104-Fan Manual Control | 1F電池室
EAF-104-Fan System trip | 1F電池室
EAF-104-Fan System Fire Alarm | 1F電池室
EAF-105-Fan System Running/Stop | 1F電池室
EAF-105-Wind pressure Switch | 1F電池室
EAF-105-Fan Auto Control | 1F電池室
EAF-105-Fan Manual Control | 1F電池室
EAF-105-Fan System trip | 1F電池室
EAF-105-Fan System Fire Alarm | 1F電池室
MCD-211-Electric Damper Running/Stop | 2F低壓配電室
MCD-2B-Electric Damper Running/Stop | 2F低壓配電室
MCD-21A-Electric Damper Running/Stop | 2F低壓配電室
FAF-201-Fan System Running/Stop | 2F風機房
FAF-201-Wind pressure Switch | 2F風機房
FAF-201-Fan Auto Control | 2F風機房
FAF-201-Fan Manual Control | 2F風機房
FAF-201-Fan System trip | 2F風機房
FAF-201-Fan System Fire Alarm | 2F風機房
FAF-202-Fan System Running/Stop | 2F風機房
FAF-202-Wind pressure Switch | 2F風機房
FAF-202-Fan Auto Control | 2F風機房
FAF-202-Fan Manual Control | 2F風機房
FAF-202-Fan System trip | 2F風機房
FAF-202-Fan System Fire Alarm | 2F風機房
MCD-212-Electric Damper Running/Stop | 2F電驛室
EAF-201-Fan System Running/Stop | 2F電驛室
EAF-201-Wind pressure Switch | 2F電驛室
EAF-201-Fan Auto Control | 2F電驛室
EAF-201-Fan Manual Control | 2F電驛室
EAF-201-Fan System trip | 2F電驛室
EAF-201-Fan System Fire Alarm | 2F電驛室
MCD-21B-Electric Damper Running/Stop | 2F電驛室
OU-301-Air Conditioner System Running/Stop | 3F室外
OU-301-Air Conditioner Wind pressure Switch | 3F室外
OU-301-Air Conditioner Auto Control | 3F室外
OU-301-Air Conditioner Manual Control | 3F室外
OU-301-Air Conditioner System Trip | 3F室外
OU-301-Air Conditioner System Fire Alarm | 3F室外
OU-302-Air Conditioner System Running/Stop | 3F室外
OU-302-Air Conditioner Wind pressure Switch | 3F室外
OU-302-Air Conditioner Auto Control | 3F室外
OU-302-Air Conditioner Manual Control | 3F室外
OU-302-Air Conditioner System Trip | 3F室外
OU-302-Air Conditioner System Fire Alarm | 3F室外
OU-303-Air Conditioner System Running/Stop | 3F室外
OU-303-Air Conditioner Wind pressure Switch | 3F室外
OU-303-Air Conditioner Auto Control | 3F室外
OU-303-Air Conditioner Manual Control | 3F室外
OU-303-Air Conditioner System Trip | 3F室外
OU-303-Air Conditioner System Fire Alarm | 3F室外
FAF-001-Fan System Running/Stop | B1F
FAF-001-Wind pressure Switch | B1F
FAF-001-Fan Auto Control | B1F
FAF-001-Fan Manual Control | B1F
FAF-001-Fan System trip | B1F
FAF-001-Fan System Fire Alarm | B1F
EAF-001-Fan System Running/Stop | B1F
EAF-001-Wind pressure Switch | B1F
EAF-001-Fan Auto Control | B1F
EAF-001-Fan Manual Control | B1F
EAF-001-Fan System trip | B1F
EAF-001-Fan System Fire Alarm | B1F
BP-3-System Running/Stop | B1F
BP-3-System Record log | B1F
BP-3-System Auto Control | B1F
BP-3-System Manual Control | B1F
BP-3-System equipment fault | B1F
DP-1,2-System Running/Stop | B1F
DP-1,2-System Record log | B1F
DP-1,2-System Auto Control | B1F
DP-1,2-System Manual Control | B1F
DP-1,2-System equipment fault | B1F
DP-3,4-System Running/Stop | B1F
DP-3,4-System Record log | B1F
DP-3,4-System Auto Control | B1F
DP-3,4-System Manual Control | B1F
DP-3,4-System equipment fault | B1F
WP-1,2-System Running/Stop | B1F自來水受水箱室
WP-1,2-System Record log | B1F自來水受水箱室
WP-1,2-System Auto Control | B1F自來水受水箱室
WP-1,2-System Manual Control | B1F自來水受水箱室
WP-1,2-System equipment fault | B1F自來水受水箱室
WT-02-Water Level H | B1F自來水箱
WT-02-Water Level L | B1F自來水箱
WT-11-Water Level H | B1F集水坑
WT-11-Water Level L | B1F集水坑
WT-11-Water Level LL | B1F集水坑
WT-12-Water Level H | B1F集水坑
WT-12-Water Level L | B1F集水坑
WT-12-Water Level LL | B1F集水坑
BP-1,2-System Running/Stop | RF
BP-1,2-System Record log | RF
BP-1,2-System Auto Control | RF
BP-1,2-System Manual Control | RF
BP-1,2-System equipment fault | RF
WT-01-Water Level H | RF自來水箱室
WT-01-Water Level L | RF自來水箱室
WF-103-Fan System Running/Stop | 氣體絕緣開關室
WF-103-Fan Auto Control | 氣體絕緣開關室
WF-103-Fan Manual Control | 氣體絕緣開關室
WF-103-Fan System trip | 氣體絕緣開關室
WF-103-Fan System Fire Alarm | 氣體絕緣開關室
MCD-1B-Electric Damper Running/Stop | 氣體絕緣開關室
MP1-Keyswitch Local/Remote | 配電室(二)
MP1-Breaker equipment failure | 配電室(二)
LVP-Power supply TPC Side | 配電室(二)
LVP-Power supply MTR Side | 配電室(二)
LVP-Breaker equipment failure | 配電室(二)
WF-102-Fan System Running/Stop | 變壓器室(一)
WF-102-Fan Auto Control | 變壓器室(一)
WF-102-Fan Manual Control | 變壓器室(一)
WF-102-Fan System trip | 變壓器室(一)
WF-102-Fan System Fire Alarm | 變壓器室(一)
MCD-1B-Electric Damper Running/Stop | 變壓器室(一)
WF-102-Fan System Running/Stop | 變壓器室(二)
WF-102-Fan Auto Control | 變壓器室(二)
WF-102-Fan Manual Control | 變壓器室(二)
WF-102-Fan System trip | 變壓器室(二)
WF-102-Fan System Fire Alarm | 變壓器室(二)
MCD-1B-Electric Damper Running/Stop | 變壓器室(二)
WF-102-Fan System Running/Stop | 變壓器室(三)
WF-102-Fan Auto Control | 變壓器室(三)
WF-102-Fan Manual Control | 變壓器室(三)
WF-102-Fan System trip | 變壓器室(三)
WF-102-Fan System Fire Alarm | 變壓器室(三)
MCD-1B-Electric Damper Running/Stop | 變壓器室(三)
WF-102-Fan System Running/Stop | 變壓器室(四)
WF-102-Fan Auto Control | 變壓器室(四)
WF-102-Fan Manual Control | 變壓器室(四)
WF-102-Fan System trip | 變壓器室(四)
WF-102-Fan System Fire Alarm | 變壓器室(四)
MCD-1B-Electric Damper Running/Stop | 變壓器室(四)
LFAP-Fire System Comprehensive Alarm
LFAP-Fire System equipment fault
LFAP-Fire System Fire Alarm