## 中控
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 中控 | ES11 | Moxa PT-G7728 | 192.168.10.11 |  | P1
P2
[6 empty] | P3 | ES12 | Switch | Moxa PT-G7728 | 192.168.10.12 |  |  | C，沒線標
ES12
[6 empty] | P4 | ES12 | Switch | Moxa PT-G7728 | 192.168.10.12
ES12
[5 empty] | 4GTX | M1P1 | ES13 | Switch | Moxa PT-7728 | 192.168.10.13
ES12
[6 empty] | M1P2 | GPS | GPS | SEL-2488 | 192.168.100.10 |  |  | E(GPS ENT1) 帳: admin 密: !QAZ2wsx
[7 empty] | GPS | GPS
M1P3
M1P4
[5 empty] | 4GTX | M2P1 | Scada Server1 | Computer | PowerEdge R740 server | 192.168.100.1 |  |  | RJ45
[6 empty] | M2P2 | Scada Server2 | Computer | PowerEdge R740 server | 192.168.100.2 |  |  | RJ45
[6 empty] | M2P3 | PAS Server1 | Computer | PowerEdge R340 server | 192.168.100.3
[6 empty] | M2P4 | PAS Server2 | Computer | PowerEdge R340 server | 192.168.100.4
[5 empty] | 4GTX | M3P1 | Client | Computer | Precision 5820 Tower XCTO Base | 192.168.100.5 |  |  | 沒接線
[6 empty] | M3P2 | OPC Server | Computer | Precision 5820 Tower XCTO Base | 192.168.100.6
Printer LQ-2090CIIN
[6 empty] | M3P3 | 點陣式印表機 | 印表機 | Printer LQ-2090CIIN | 192.168.100.8 |  |  | 沒接線
[6 empty] | M3P4 | NAS | 網路交換磁碟 |  | 192.168.100.20 |  |  | 沒接線
[5 empty] | 4GTX | M4P1 | PV Scada | Computer | 實體機 | 192.168.100.7 |  |  | 沒接線
M4P2
M4P3
M4P4
[5 empty] | 4GSFP | M5P1
M5P2
M5P3
M5P4
[5 empty] | 4GSFP | M6P1
M6P2
M6P3
M6P4
IDB-E2 | 中控 | ES12 | Moxa PT-G7728 | 192.168.10.12 |  | P1
P2
[6 empty] | P3 | ES11 | Switch | Moxa PT-G7728 | 192.168.10.11 |  |  | C，沒線標
[6 empty] | P4 | ES11 | Switch | Moxa PT-G7728 | 192.168.10.11 |  |  | D，沒線標
[5 empty] | 4GTX | M1P1 | ES14 | Switch | Moxa PT-7728 | 192.168.10.14 |  |  | RJ45
[6 empty] | M1P2 | GPS | GPS | M300 GPS/RPS | 192.168.100.10 |  |  | F(GPS ENT2) 沒線標
M1P3
M1P4
[5 empty] | 4GTX | M2P1 | Scada Server1 | Computer | PowerEdge R740 server | 192.168.100.1 | -
Scada Server2
[6 empty] | M2P2 | Scada Server2 | Computer | PowerEdge R740 server | 192.168.100.2
Scada Server4
[6 empty] | M2P3 | PAS Server1 | Computer | PowerEdge R340 server | 192.168.100.3
[6 empty] | M2P4 | PAS Server2 | Computer | PowerEdge R340 server | 192.168.100.4
[5 empty] | 4GTX | M3P1 | Client | Computer | Precision 5820 Tower XCTO Base | 192.168.100.5
[6 empty] | M3P2 | OPC Server | Computer | Precision 5820 Tower XCTO Base | 192.168.100.6
[6 empty] | M3P3 | 雷射式印表機 | 印表機 | Workforce AL-M220DN | 192.168.100.9
[6 empty] | M3P4 | EDR-G902(中華電信)
[5 empty] | 4GTX | M4P1
M4P2
M4P3
M4P4
[5 empty] | 4GSFP | M5P1
M5P2
M5P3
M5P4
[5 empty] | 4GSFP | M6P1
M6P2
M6P3
M6P4

## 161KV (Switch)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 161KV | ES13 | Moxa PT-7728 | 192.168.10.13 | 8TX | M1P1 | RTU#1 | RTU | A8000 | 192.168.10.31 | Sicam PAS
[6 empty] | M1P2 | RTU#2 | RTU | A8000 | 192.168.10.32 | Sicam PAS
[6 empty] | M1P3 | RTU#3 | RTU | A8000 | 192.168.10.33 | Sicam PAS
[6 empty] | M1P4 | 1650-M | Meter | UMG 509PRO | 192.168.10.112 | kepware |  | 更換
[6 empty] | M1P5 | 1660-M | Meter | UMG 509PRO | 192.168.10.113 | kepware |  | 更換
[6 empty] | M1P6 | 1510 | Meter | UMG 512PRO | 192.168.10.111 | kepware |  | 更換
M1P7
M1P8
[5 empty] | 6MSC | M2P1 | Vena SL86-1 | Relay | 7SL86 | 192.168.10.53 | Sicam PAS |  | 與ES14 M2P1做RSTP
[6 empty] | M2P2 | F01-1650(RET-670) | Relay | RET670 | 192.168.10.41 | Sicam PAS |  | 與ES14 M2P2做RSTP
[6 empty] | M2P3 | F02-1660(RET-670) | Relay | RET670 | 192.168.10.43 | Sicam PAS
[6 empty] | M2P4 | F03-1670(RET-670) | Relay | RET670 | 192.168.10.45 | Sicam PAS
[6 empty] | M2P5 | F04-1680(RET-670) | Relay | RET670 | 192.168.10.47 | Sicam PAS
[6 empty] | M2P6 | F04-1680(REB-670) | Relay | RET670 | 192.168.10.49 | Sicam PAS
[5 empty] | 6SSC | M3P1 | Taixi SL86-1 | Relay | 7SL86 | 192.168.10.57 | Sicam PAS |  | 與ES14 M3P1做RSTP 沒線標 | 單模
[6 empty] | M3P2 | ES13 | Switch | Moxa PT-7728 | 192.168.10.13 |  |  | 沒線標
M3P3
M3P4
M3P5
M3P6
[5 empty] | 4GTX | M4P1 | ES11 | Switch | Moxa PT-G7728 | 192.168.10.11 |  |  | RJ45
[6 empty] | M4P2 | ES15 | Switch | Moxa PT-7728 | 192.168.10.17
M4P3
M4P4
IDB-E2 | 161KV | ES14 | Moxa PT-7728 | 192.168.10.14 | 8TX | M1P1 | RTU#1 | RTU | A8000 | 192.168.10.31 | Sicam PAS
[6 empty] | M1P2 | RTU#2 | RTU | A8000 | 192.168.10.32 | Sicam PAS
[6 empty] | M1P3 | RTU#3 | RTU | A8000 | 192.168.10.33 | Sicam PAS
[6 empty] | M1P4 | MGATE-MB3660I-8-2AC | MGATE | MB3660I-8-2AC | 192.168.10.21 | kepware |  | B，沒線標
[6 empty] | M1P5 | 1670-M | Meter | UMG 509PRO | 192.168.10.114 | kepware
[6 empty] | M1P6 | 1680-M | Meter | UMG 509PRO | 192.168.10.115 | kepware
[6 empty] | M1P7 | [6 empty] | 有線、沒線標
M1P8
[5 empty] | 6MSC | M2P1 | Vena 50+2-2 | Relay | 7SJ82 | 192.168.10.52 | Sicam PAS |  | 與ES13 M2P1做RSTP
[6 empty] | M2P2 | F01-1650(REF-630) | Relay | REF630 | 192.168.10.42 | Sicam PAS |  | 與ES13 M2P2做RSTP
[6 empty] | M2P3 | F02-1660(REF-630) | Relay | REF630 | 192.168.10.44 | Sicam PAS
[6 empty] | M2P4 | F03-1670(REF-630) | Relay | REF630 | 192.168.10.46 | Sicam PAS
[6 empty] | M2P5 | F04-1680(REF-630) | Relay | REF630 | 192.168.10.48 | Sicam PAS
M2P6
[5 empty] | 6MSC | M3P1 | Taixi 50+2-2 | Relay | 7SJ82 | 192.168.10.56 | Sicam PAS |  | 與ES13 M3P1做RSTP 沒線標 | 單模
M3P2
M3P3
M3P4
M3P5
M3P6
[5 empty] | 4GTX | M4P1 | ES12 | Switch | Moxa PT-G7728 | 192.168.10.12 | - |  | RJ45
[6 empty] | M4P2 | ES16 | Switch | Moxa PT-7728 | 192.168.10.16
M4P3
M4P4

## 33KV (Switch)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 33KV | ES15 | Moxa PT-7728 | 192.168.100.15 | 8TX | M1P1
M1P2
M1P3
M1P4
M1P5
M1P6
M1P7
M1P8
[5 empty] | 6MSC | M2P1 | TIE 12A | Relay | 7SJ82 | 192.168.10.95 | Sicam PAS |  | 與ES14 M2P1做RSTP
[6 empty] | M2P2 | MP2 | Relay | 7SJ82 | 192.168.10.70 | Sicam PAS |  | 與ES14 M2P2做RSTP
[6 empty] | M2P3 | TIE 34A | Relay | 7SJ82 | 192.168.10.96 | Sicam PAS
[6 empty] | M2P4 | MP4 | Relay | 7SJ82 | 192.168.10.87 | Sicam PAS
M2P5
M2P6
[5 empty] | 6MSC | M3P1
M3P2
M3P3
M3P4
M3P5
M3P6
[5 empty] | 4GTX | M4P1 | ES13 | Switch | Moxa PT-G7728 | 192.168.10.13 |  |  | LC-LC
[6 empty] | M4P2 | ES17 | Switch | EDS-510A | 192.168.10.17 |  |  | LC-LC(收熔箱)
M4P3
M4P4
IDB-E2 | 33KV | ES16 | Moxa PT-7728 | 192.168.100.16 | 8TX | M1P1 | PLC | PLC | S7-1500 | 192.168.100.35 | S7-1500
[6 empty] | M1P2 | MGATE-MB3660I-8-2AC | MGATE | MB3660I-8-2AC | 192.168.10.22 | kepware |  | A，沒線標
M1P3
M1P4
M1P5
M1P6
M1P7
M1P8
[5 empty] | 6MSC | M2P1 | NO 17 | Relay | 7SJ82 | 192.168.10.68 | Sicam PAS |  | 與ES13 M2P1做RSTP
[6 empty] | M2P2 | NO 27 | Relay | 7SJ82 | 192.168.10.77 | Sicam PAS |  | 與ES13 M2P2做RSTP
[6 empty] | M2P3 | NO 37 | Relay | 7SJ82 | 192.168.10.85 | Sicam PAS
[6 empty] | M2P4 | NO 47 | Relay | 7SJ82 | 192.168.10.94 | Sicam PAS
M2P5
M2P6
[5 empty] | 6MSC | M3P1
M3P2
M3P3
M3P4
M3P5
M3P6
[5 empty] | 4GTX | M4P1 | ES14 | Switch | Moxa PT-G7728 | 192.168.10.14 |  |  | LC-LC
[6 empty] | M4P2 | ES17 | Switch | EDS-510A | 192.168.10.17 |  |  | LC-LC(收熔箱)
M4P3
M4P4
M4P5
M4P6

## 戶外 (Switch)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 戶外 | ES17 | EDS-510A | 192.168.10.17 | 8TX | G1 | ES15 | Switch | Moxa PT-7728 | 192.168.10.15
[6 empty] | G2 | ES16 | Switch | Moxa PT-7728 | 192.168.10.16
G3
[5 empty] | 6MSC | P1 | RTU4 | A8000 | A8000 | 192.168.10.34 | Sicam PAS
[6 empty] | P2 | RTU4 | A8000 | A8000 | 192.168.10.34 | Sicam PAS
[6 empty] | P3 | NPort 5450I-T | NPort | NPort 5450I-T | 192.168.10.23 | Sicam PAS
P4
P5
P6
P7

## 臺西變電站Bay11
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 臺西變電站Bay11 | ES18 | EDS-408A | 192.168.10.18 | 2MSC | S1 | IN01-7SJ86-1
[6 empty] | S2 | IN01-7SJ82-2
[5 empty] | 6TX | P1 | [6 empty] | Port沒通訊
[6 empty] | P2 | [6 empty] | Port沒通訊
[6 empty] | P3 | IMC101 | 光纖轉換器 | IMC-101
P4
P5
P6
IDB-E2 | 臺西變電站Bay11 | IMC101 | IMC101 | N/A | 2MSC | S1 | TPC FIB BOX-1
[6 empty] | S2 | TPC FIB BOX-2
[5 empty] | 1TX | P1 | ES18 | Switch | Switch | 192.168.10.18

## 161KV (NPort)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 161KV | EN21 | MB3660I-8-2AC | 192.168.10.21 | P1 | ID:1 | ION9200 | EMP | Meter |  | Modbus RTU
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P2 | ID:1 | ION9200 | LV_MP1 | Meter |  | Modbus RTU
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P3 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P4 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P5 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P6 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P7 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
[5 empty] | P8 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8

## 33KV (NPort)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 33KV | EN22 | MB3660I-8-2AC | 192.168.100.22 | P1 | ID:1 | TIE 12A | Meter | P50 |  | kepware
[6 empty] | ID:2 | TIE 12B | Meter | P50 |  | kepware
[6 empty] | ID:3 | MP1 | Meter | P50 |  | kepware
[6 empty] | ID:4 | NO.11 | Meter | P50 |  | kepware
[6 empty] | ID:5 | NO.12 | Meter | P50 |  | kepware
[6 empty] | ID:6 | NO.13 | Meter | P50 |  | kepware
[6 empty] | ID:7 | NO.14 | Meter | P50 |  | kepware
[6 empty] | ID:8 | NO.15 | Meter | P50 |  | kepware
[6 empty] | ID:9 | NO.16 | Meter | P50 |  | kepware
[6 empty] | ID:10 | NO.17 | Meter | P50 |  | kepware
[5 empty] | P2 | ID:1 | MP2 | Meter | P50 |  | kepware
[6 empty] | ID:2 | NO.21 | Meter | P50 |  | kepware
[6 empty] | ID:3 | NO.22 | Meter | P50 |  | kepware
[6 empty] | ID:4 | NO.23 | Meter | P50 |  | kepware
[6 empty] | ID:5 | NO.24 | Meter | P50 |  | kepware
[6 empty] | ID:6 | NO.25 | Meter | P50 |  | kepware
[6 empty] | ID:7 | NO.26 | Meter | P50 |  | kepware
[6 empty] | ID:8 | NO.27 | Meter | P50 |  | kepware
[5 empty] | P3 | ID:1 | TIE 34A | Meter | P50 |  | kepware
[6 empty] | ID:2 | TIE 34B | Meter | P50 |  | kepware
[6 empty] | ID:3 | MP3 | Meter | P50 |  | kepware
[6 empty] | ID:4 | NO.31 | Meter | P50 |  | kepware
[6 empty] | ID:5 | NO.32 | Meter | P50 |  | kepware
[6 empty] | ID:6 | NO.33 | Meter | P50 |  | kepware
[6 empty] | ID:7 | NO.34 | Meter | P50 |  | kepware
[6 empty] | ID:8 | NO.35 | Meter | P50 |  | kepware
[6 empty] | ID:9 | NO.36 | Meter | P50 |  | kepware
[6 empty] | ID:10 | NO.37 | Meter | P50 |  | kepware
[5 empty] | P4 | ID:1 | MP4 | Meter | P50
[6 empty] | ID:2 | NO.41 | Meter | P50 |  | kepware
[6 empty] | ID:3 | NO.42 | Meter | P50 |  | kepware
[6 empty] | ID:4 | NO.43 | Meter | P50 |  | kepware
[6 empty] | ID:5 | NO.44 | Meter | P50 |  | kepware
[6 empty] | ID:6 | NO.45 | Meter | P50 |  | kepware
[6 empty] | ID:7 | NO.46 | Meter | P50 |  | kepware
[6 empty] | ID:8 | NO.47 | Meter | P50 |  | kepware
[5 empty] | P5 | ID:1 | DC Charger1 | Charger |  |  | Modbus RTU
[6 empty] | ID:2 | DC Charger2 | Charger |  |  | Modbus RTU
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
ID:9
[5 empty] | P6 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
ID:9
[5 empty] | P7 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
ID:9
[5 empty] | P8 | ID:1
ID:2
ID:3
ID:4
ID:5
ID:6
ID:7
ID:8
ID:9

## 戶外 (NPort)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Name
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Comm Software | Comm Protocol / Parameter | Remark
IDB-E2 | 戶外 | EN23 | NPort 5450I-T | 192.168.10.23 | P1 | ID:1 | MHP | Meter | PM-5350 |  | kepware
[6 empty] | ID:2 | VCB1 | Meter | PM-5350 |  | kepware
[6 empty] | ID:3 | VCB2 | Meter | PM-5350 |  | kepware
[6 empty] | ID:4 | VCB3 | Meter | PM-5350 |  | kepware
[5 empty] | P2 | ID:1
ID:2
ID:3
ID:4
[5 empty] | P3 | ID:1
ID:2
ID:3
ID:4
[5 empty] | P4 | ID:1
ID:2
ID:3
ID:4

## CUP-L20-Front End Panel(中控室) (hidden)
Server Name / Panel Name |  | Moxa Info. |  |  |  |  | Device Info.
Connected Server Name | Local Panel Name | Device Name | Device type | Device IP | Slot Module | Slot/Port Number | Device Name | Device | Device type | Device Address | Communication | VLEN | Remark
MMT_A2_SV1 | CUP-L20-Front End | CUP_L20_ES21 | MOXA IKS-G6524A | 192.168.100.91 |  | 1 | MMT-A2-SER1-1.100 | DELL | R730 | 192.168.100.1 | NA | ID:10 | MMT-A2-SER1.100
[6 empty] | 2 | MMT-A2-SER1-1.110 | DELL | R730 | 192.168.110.1 | NA | ID:10 | MMT-A2-SER1.110
[6 empty] | 3 | MMT-A2-SER2-1.100 | DELL | R730 | 192.168.100.2 | NA | ID:10 | MMT-A2-SER2.100
[6 empty] | 4 | MMT-A2-SER2-1.110 | DELL | R730 | 192.168.110.2 | NA | ID:10 | MMT-A2-SER2.110
[6 empty] | 5 | MMT_A2_PH-1.100 | DELL | R730 | 192.168.100.3 | NA | ID:10 | MMT_A2_PH.100
[6 empty] | 6 | MMT_A2_PH-1.110 | DELL | R730 | 192.168.110.3 | NA | ID:10 | MMT_A2_PH.110
[6 empty] | 7 | MMT_A2_CL1-1.0 | DELL | TOWER 5810 | 192.168.0.5 | NA | ID:10 | MMT_A2_CL1.0
[6 empty] | 8 | MMT_A2_CL1-1.110 | DELL | TOWER 5810 | 192.168.110.5 | NA | ID:10 | MMT_A2_CL1.110
[6 empty] | 9 | 中控桌-1 |  |  |  | R.S.T.P->取消 | ID:10 | Control-1
[6 empty] | 10 | 維護桌-1 |  |  |  | R.S.T.P->取消 | ID:10 | Maintain-1
[6 empty] | 11 | 機櫃維護 | - - | - - | - - | R.S.T.P->取消 | ID:10
[6 empty] | 12 | CUP_L20_ES22 | Switch | Moxa IKS-G6524A | 192.168.2.2 | R.S.T.P->取消 | ID:10 Trunk | CUP_L20_ES22.12
MMT_A2_SV2 | [5 empty] | 13 | PS_L10_ES01 | Switch | Moxa PT7728 | 192.168.0.1 | R.S.T.P->取消 | ID:10 Trunk | PS_L10_ES01.4-1
[6 empty] | 14 | CUP_L30_ES26 | Switch | Moxa PT7728 | 192.168.2.6 | R.S.T.P->取消 | ID:10 Trunk | CUP_L30_ES26.4-1
[6 empty] | 15 | FAB_L20_ES41 | Switch | Moxa PT7728 | 192.168.4.1 | R.S.T.P->取消 | ID:10 Trunk | FAB_L20_ES41.4-1
[6 empty] | 16 | FAB_L40_ES44 | Switch | Moxa PT7728 | 192.168.4.4 | R.S.T.P->取消 | ID:10 Trunk | FAB_L40_ES44.4-1
[6 empty] | 17 | FAB_L20_ES81 | Switch | Moxa PT7728 | 192.168.8.1 | R.S.T.P->取消 | ID:10 Trunk | FAB_L20_ES81.4-1
[6 empty] | 18 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 19 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 20 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 21 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 22 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 23 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 24 |  |  |  |  | R.S.T.P->取消 | ID:10
MMT_A2_SV1 |  | CUP_L20_ES22 | MOXA IKS-G6524A | 192.168.100.92 |  | 1 | MMT-A2-SER1-2.100 | DELL | R730 | 192.168.100.1 | NA | ID:10 | MMT-A2-SER1.100
[6 empty] | 2 | MMT-A2-SER1-2.110 | DELL | R730 | 192.168.110.1 | NA | ID:10 | MMT-A2-SER1.110
[6 empty] | 3 | MMT-A2-SER2-2.100 | DELL | R730 | 192.168.100.2 | NA | ID:10 | MMT-A2-SER2.100
[6 empty] | 4 | MMT-A2-SER2-2.110 | DELL | R730 | 192.168.110.2 | NA | ID:10 | MMT-A2-SER2.110
[6 empty] | 5 | MMT_A2_PH-2.100 | DELL | R730 | 192.168.100.3 | NA | ID:10 | MMT_A2_PH.100
[6 empty] | 6 | MMT_A2_PH-2.110 | DELL | R730 | 192.168.100.3 | NA | ID:10 | MMT_A2_PH.110
[6 empty] | 7 | MMT_A2_CL1-2.0 | DELL | TOWER 5810 | 192.168.0.5 | NA | ID:10 | MMT_A2_CL1.0
[6 empty] | 8 | MMT_A2_CL1-2.110 | DELL | TOWER 5810 | 192.168.110.5 | NA | ID:10 | MMT_A2_CL1.110
[6 empty] | 9 | 中控桌-2 |  |  |  | R.S.T.P->取消 | ID:10 | Control-2
[6 empty] | 10 | 維護桌-2 |  |  |  | R.S.T.P->取消 | ID:10 | Maintain-2
[6 empty] | 11 | MIMIC_L20_5150A | Moxa | Nport 5150A | 192.168.100.68 | R.S.T.P->取消 | ID:10 | MIMIC
[6 empty] | 12 | CUP_L20_ES21 | Switch | Moxa IKS-G6524A | 192.168.2.1 | R.S.T.P->取消 | ID:10 Trunk | CUP_L20_ES21.12
MMT_A2_SV2 | [5 empty] | 13 | PS_L10_ES02 | Switch | Moxa PT7728 | 192.168.0.2 | R.S.T.P->取消 | ID:10 Trunk | PS_L10_ES02.4-1
[6 empty] | 14 | CUP_L30_ES27 | Switch | Moxa PT7728 | 192.168.2.7 | R.S.T.P->取消 | ID:10 Trunk | CUP_L30_ES27.4-1
[6 empty] | 15 | FAB_L20_ES42 | Switch | Moxa PT7728 | 192.168.4.2 | R.S.T.P->取消 | ID:10 Trunk | FAB_L20_ES42.4-1
[6 empty] | 16 | FAB_L40_ES46 | Switch | Moxa PT7728 | 192.168.4.6 | R.S.T.P->取消 | ID:10 Trunk | FAB_L40_ES46.4-1
[6 empty] | 17 | FAB_L20_ES82 | Switch | Moxa PT7728 | 192.168.8.2 | R.S.T.P->取消 | ID:10 Trunk | FAB_L20_ES82.4-1
[6 empty] | 18 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 19 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 20 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 21 | CUP_L20_Mimic_PLC | PLC | S7-300 | 192.168.100.67 | R.S.T.P->取消 | ID:10
[6 empty] | 22 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 23 |  |  |  |  | R.S.T.P->取消 | ID:10
[6 empty] | 24 |  |  |  |  | R.S.T.P->取消 | ID:10